# Pipes & Wires

## THE JOURNAL OF COOL ENERGY & UTILITIES STUFF

## Issue 121 – April 2013

From the editor’s desk…

Welcome to Pipes & Wires #121. This month we start with a look at progress on South Africa’s 2 new power stations and the Nigerian privatisation. We then look at some energy storage and smart grid issues in the United States before examining whether privatisation of a regional electric company in India might improve its performance. We then look at some regulatory, privatisation and policy trends in Europe and then consider 2 industry structural changes in Australia (note the contrast between horizontal disaggregation in Tasmania and vertical reintegration in Western Australia).

Topical issues for thought...

Civic authorities have recently expressed increasing concern about how long the electricity was off after significant natural events. As Pipes & Wires has explored, there are many seemingly complex issues around this such as whether smart grids would have improved restoration and what costs the regulatory regime allowed and didn’t allow the electric companies to recover, however much of it comes back to having a hard, resilient network. This includes features such as stronger conductors in wind-prone areas, braced structures, lifting underground assets above ground, better drainage in underground vaults, and moving key assets away from flood-prone areas.

Network hardening and resilience needs a clear strategy that recognises likely disaster scenarios and includes engagement with regulators over the likely costs and benefits. To discuss this in more detail, pick here or call Phil on (07) 854-6541.

Matters for attention (NZ)

Distribution pricing review

The Electricity Authority will be reviewing EDB’s pricing methodologies to inter alia ensure that each EDB’s methodology aligns to the pricing principles and is efficient. This work stream will involve an independent review of each EDB’s methodology, after which the Authority will release its findings, probably around August or September 2013.

The Authority’s focus will be on whether distribution pricing is efficient and is supporting competition. Pick here or call Phil on (07) 854-6541 to discuss your requirements.

Gas asset management plans

The Commerce Commission’s decisions NZCC 23 and NZCC 24 set out the requirements for gas distribution and gas transmission businesses (collectively referred to as gas pipeline businesses, GPB’s) to disclose an AMP that meets specified criteria. The specific disclosure requirements for both gas distribution and gas transmission are set out as follows...

- Section 2.6 of each decision sets out the various broad requirements that an AMP must meet, such as contributing to the Part 4 Purpose Statement, and being able to be understood by someone with a basic knowledge of infrastructural asset management.

- Section 2.6 sets out the dates by which each GPB must disclose its’ AMP. Care is required, as the dates are based on several defined terms that much be well understood.

- Section 2.6 also describes the various forecasts (Schedules 11a to 12b that include CapEx, OpEx, asset condition and demand).

- Attachment A sets out the specific clause-by-clause requirements that the AMP must include.

- The asset management maturity assessment tool (AMMAT) in Schedule 13 must also be completed and disclosed.

These requirements are almost identical to the disclosure requirements for electricity AMP’s. Pick here or call Phil on (07) 854-6541 to discuss your requirements.

Africa

South Africa – progress on the six-packs

Introduction

For those who can’t resist the boyish charm of big machines this article examines progress on Eskom’s 2 latest six unit coal-fired steam turbine stations, Medupi and Kusile.

Background

From the mid 1970’s to the mid-1990’s Eskom built 8 six-packs, and pretty much commissioned a 600+ MW steam turbine unit every 8 or 9 months. That is an impressive record of construction.

Medupi

Key features of Medupi include...

- Located near Lephalale, near the Zimbabwean border.

- Six 800 MW (basically 4,800 MW gross).

- Dry cooling of spent steam.

- Boilers supplied by Hitachi, turbines supplied by Alstom.

- Coal supply will be about 14,600,000 tons per year under a 40 year contract.

The first unit should be commissioned anytime now.

Kusile

Key features of Kusile include...

- Located near Witbank, east of Johannesburg.

- Six 800 MW units.

- Includes flue-gas desulfurisation.

- Boilers supplied by Hitachi, turbines supplied by Alstom.

- Coal supply will be about 12,000,000 tons per year for between 40 and 50 years

The first unit is scheduled for commissioning in 2014.

Nigeria – privatising the generators

Introduction

The last few issues of Pipes & Wires have examined Nigeria’s electricity reforms. This article examines the proposed sale of 80% shareholdings in each of 10 generation companies.

The proposed sale

The generation companies are wholly owned by the Niger Delta Power Holding Company (NDPHC), which is in turn owned by 3 tiers of government. The NDPHC’s key objective is to implement the National Integrated Power Plan (NIPP), which is fast track policy developed in 2004 as a public funding initiative to build up Nigeria’s electricity infrastructure.

The generation companies

The 10 generation companies have a total installed capacity of about 5,100 MW. Most of the plants are open-cycle gas turbines, with a few plants having been designed for possible conversion to combined-cycle.

Likely bidders

The Nigerian electricity sector would seem to embody a range of risks that most mainstream investors would not be comfortable with. Presumably those risks will be reflected in the likely sale prices. Pipes & Wires will make further comment once the sale process has progressed.

North America

US – energy storage & electric cars converge

Introduction

Grid energy storage seems to be the emerging way of the future (refer to “Emerging grid storage technologies” in Pipes & Wires #120). This article examines the possible role of electric cars providing that energy storage.

Grid energy storage

Put really simply, grid energy storage stores off-peak energy and then releases that energy back into the grid at peak times. Specific technologies include storing the electricity in huge batteries, but also storing primary energy by such means as pumped storage or compressed air, and indeed exploiting time zone differences.

Grid energy storage firstly reduces the need for peak generation (generally always CO2 emitting) by releasing stored energy, but also reduces the need for associated grid capacity by injecting that stored energy close to loads.

Note that huge batteries can also provide back-up power, and represent a viable alternative to building additional lines (refer to “Big batteries for the Lone Star State”, Pipes & Wires #86).

A possible role for electric cars

Talk emerged a few years ago of using electric cars to inject into the grid at peak times .... a thoroughly brilliant idea !!! However it seems some (certainly not all) policy and regulatory thinking is a long way behind, and is still mired in some very fundamental issues like understanding why recharging electric cars at peak time is a dumb idea, and how (or indeed whether) electric companies should be allowed to recover the true costs of recharging.

The other aspect to this is that electric cars (presumably) come with a whole bunch of fancy electronics that lends itself to inverting and injecting back into the grid. And of course we have the metering technology that can deal with 2 way time-of-use power flows.

A couple of issues

It appears that a couple of issues need to be overcome....

- Grid storage is primarily an electric company issue that requires close coordination of the amount and timing of injected energy. Use of batteries owned by a third party will undoubtedly complicate this.

- Convenience of the car owner. The emerging picture is that electric car owners tend to be wealthy, and by implication lead busy lives with presumably little time to think about trivial off-the-wall stuff like when their local electric grid peaks. At a stretch we could maybe chop some of the late afternoon air con peak before those people head home from work, but then that would require at least some recharging of the cars during the day after they have discharged on the way to work.

- The policy-regulatory disconnect, in which policy makers advocate seemingly sound ideas but then regulators prohibit the recovery of the costs (refer to the articles on Baltimore Gas & Electric in Pipes & Wires #93 and #94). An extension of this issue is the policy expectation that investor-owned electric companies will be used as instruments of policy without compensation.

Once these issues get resolved, this idea could prove to be real winner. A key element will be allowing electric companies to set terms and conditions of recharging and grid injection that reflect their true economic costs.

US – are smart grids coming unstuck ?

Introduction

If you’re anything like me you’re probably getting a sense that the whole smart grid thing seems to be coming unstuck. This article takes a wider look at some smart grid issues, which I appreciate may not sit easily with some.

Phil’s position on smart grids

Its’ probably time I clarified my position on smart grids (and indeed renewables). I will state categorically that I am not against either, but what I am against is the single-minded pursuit of both smart grids and renewables that embodies the following...

- Dismissal of 130 years of power engineering wisdom by people with very limited understanding of how an electric grid actually works.

- A view that modern day policy makers are coming up with new ideas, when actually power engineers have been having those ideas for years eg. demand side management, non-network solutions, efficient long-term investment etc.

- Refusal to discuss associated issues such as increasing costs, declining security of supply and public safety.

- Ignoring inconvenient facts like the huge carbon footprint of all those extra transmission lines, and worn out electric car batteries that suppliers won’t take back.

- The expectation that investor-owned electric companies will implement government and city policy without any compensation.

Some emerging smart grid issues

Some of the issues that seem to be emerging with smart grids include...

- An appearance of “a scratch looking for an itch”. Much of the smart grid space seems dominated by equipment suppliers (some of whom are now lobbying state governments to make smart grid rebuilds mandatory) and government agencies touting “new jobs”.

- Lack of understanding of how a power grid actually works. Sure, smart grids are doing some pretty cool things with improving supply restoration times, but there needs to be an underpinning meshed network that is in good condition ... single radial feeders in poor condition have little if any scope for improving reliability.

- A possible lack of real benefits. If smart grids have real benefits, surely Big Electric would adopt them as they would adopt any other cash flow positive opportunity ? It appears that many electric companies are adopting smart grids primarily because of either government subsidies or (what we thought was) pretty much guaranteed recovery of costs.

- The need for underlying network strength, hardening and resilience. As the recent hurricanes on the east coast of the United States demonstrated, smart grids proved to be of little value when the underlying network was bashed, thumped and drowned.

- The whole issue of worker and public safety. A key selling point of smart grids is rapid restoration of supply, which presumably dispenses with the faultman actually inspecting assets before re-livening. High energy assets such as zone substations are inspected for very good reasons, and many of us have some real concerns around this.

- Uncertainty around cost recovery. Recovering the costs of smart grid initiatives appears increasingly uncertain. Readers might remember the policy-regulatory disconnect that Baltimore Gas & Electric got hit with a few years ago (refer to Pipes & Wires #93 and #94) that prohibited them from recovering the costs of their smart meter roll-out, and more recently Xcel Energy not being allowed to recover the full costs of the SmartGridCity rollout in Boulder, Colorado. It is, of course, possible that the claimed costs may have been inefficient but none-the-less the possibility of that smart grid costs may not be fully recoverable will undoubtedly spook electric companies.

Seems like there will be some interesting times ahead, so Pipes & wires will watch this issue closely and make further comment as trends emerge.

Asia

India – will privatising electricity improve performance ?

Introduction

India’s Kerala State Government has recently decided not to privatise the Kerala State Electricity Board (KSEB), but issues around improving cash position and operational performance remain. This article cum rambling monolog examines some of the KSEB’s woes and considers whether privatisation might’ve improved the KSEB’s performance.

A bit about the KSEB

The KSEB is a state government owned, vertically integrated electric company that operates 2,445MW of generation, 10,400km of 400kV and 220kV transmission lines and 272,480km of distribution lines at 33kV and lower. The KSEB has about 10,000,000 customers, so it is very large even on a global scale.

The KSEB’s woes

The KSEB’s woes include...

- Transmission losses of 17% (down from 31%).

- Bleeding cash, like US$37m per month.

The wider background

The wider background to the Kerala government’s decision not to privatise was the policy direction of the central government encouraging state governments to “explore options for improving performance” of their electric companies. Kerala has argued that it has considered and rejected privatisation in the belief that it can make performance improvements whilst maintaining ownership.

Would privatising necessarily solve the KSEB’s woes ?

Arguably a simple transfer of ownership from the public to the private sector would not ostensibly fix the KSEB’s woes ... it obviously goes a lot deeper than that. Some issues to consider include...

- Private sector ownership is likely to sharpen the commercial focus, better allocate resources toward financial goals like reducing losses, and give reduced attention to wider competing and conflicting social and political objectives. It’s probably also fair to say that a private electric company would be less likely to u-turn on sensitive major initiatives than a state electricity board.

- Depending on the regulatory framework, particularly around tariffs, private sector ownership may not be able to improve profitability if revenues are simply unsustainably low.

- Depending on what labor agreements are in place, private sector ownership may not be able to reduce head-count, re-deploy or re-train people.

- Depending on government economic development policies, tariffs to certain customer classes may have been kept deliberately low to subsidise industry. This will require a conscious decision by government to abandon or ramp down those subsidies.

So in terms of addressing the first identified woe, privatisation might result in reduced transmission losses but possibly no better than internal restructurings. In terms of the second woe, well it is far from clear that a simple transfer of ownership in the absence of wider economic reforms will improve financial performance.

UK and Europe

France – amending the electricity transmission tariff methodology

Introduction

Key policy elements of most electric and gas tariff decisions is striking the balance between efficient recovery of high fixed costs on the one hand and sending real time demand signals to customers on the other hand, and incentivising new investment. This article examines a recent deliberation by the French energy regulator Commission de Regulation de l’Energie (CRE) to introduce some new components to the 4th high voltage electricity transmission revenue determination TURPE 4 HTB which commences on 1st August 2013.

Incentivising new investment

TURPE 4 HTB will include incentives for investment in interconnections. Grid interconnections are considered an important aspect of efficient energy market operation, hence it seems a wise move to incentivise such investments. Readers might recall that the CRE has previously allowed gas company GRT-gaz to recover a higher WACC for investing in gas transmission hubs that improve market liquidity.

Peak time pricing

TURPE 4 HTB will also allow booked transmission grid capacity to be priced on a time of day and season of the year basis to encourage reduced consumption during peak periods. This would seem to be a noble public policy gesture, but it will be interesting to see how much revenue risk results and how the CRE might address that.

Ireland – privatising Bord Gais Energy

Introduction

News emerged recently that Ireland’s gas company Bord Gais will sell its’ energy retail business. This article examines the proposed privatisation.

A bit about Bord Gais Energy

Bord Gais Energy (BGE) supplies 468,000 gas customers and 407,000 electric customers throughout Eire, as well as 44,000 gas customers in Northern Ireland through its energy and distribution subsidiary Firmus Energy. BGE also owns and operates 680MW of generation capacity.

BGE operates as a subsidiary of Bord Gais, which also owns 13,000km of gas pipelines. Bord Gais itself is predominantly a state-owned company.

The proposed sale process

The sale process includes only the BGE customer base, the BGE generation and the Firmus Energy customer base and distribution network. Barclays Capital is advising the Treasury on the sale process, whilst the Royal Bank of Canada Capital Markets is advising BGE.

The expected price

BGE is expected to sell for between €1b and €1.5b. Comparing this to other deals around the world is obviously a bit complicated because of the mix of assets involved in this deal.

Possible bidders

It is understood that UK gas company Centrica is interested in BGE. My guess (and I could always be wrong) is that the traditionally acquisitive European energy companies like E.On, RWE, Electricité de France, Iberdrola and Vattenfall will sit this one out ... they seem to have substantially revised their strategies to focus on assets sales to reduce debt, asset trading to comply with the EU Third Package and consolidating their home markets.

The sale is scheduled to take most of the 2013 year, so Pipes & Wires will make further comment as details emerge.

Germany – cancelling the climate change programs

Introduction

Pipes & Wires has previously examined Germany’s alternating policy positions on nuclear energy. It now seems that their position on climate change initiatives is also alternating. This article examines those changes

Germany’s energy policy position

Germany’s plans to “transform the country into a model of alternative energy” included a target (set by the EU in 1997) of 12% of electricity from renewable sources by 2010. The German government then upped this to 35% by 2020, 50% by 2030, 65% by 2040 and 80% by 2050 ... basically 15% per decade.

Recent moves

A number of issues have led to the cancellation of several subsidy programs, including promoting electric cars, research funds for energy storage technologies and protection of forest lands to absorb CO2. Further cuts are planned over the coming months.

A key driver of the cancellations appears to be the languishing carbon prices, which have dropped from €30 per ton to a mere €4 per ton, and well below the €17 per ton that the German government was budgeting on to fund many of its programs.

The politics of it all

Mainstream parties are understandably divided along the lines of those consider the costs (ie. Treasury), and those who don’t. What is rather surprising is the divide emerging amongst the Green politicians as traditional ecologists rebel against the mounting environmental impact of renewable energy that the “renewables at any cost” persuasion seems to be pursuing.

Presumably the current Government has counted the cost ? These moves are unlikely to win the green vote, but they are likely to capture the minds of many Germans already struggling with reduced incomes and facing the loss of traditional smoke-stack jobs.

This policy shift is likely to significantly delay, or even possibly totally stall, Germany’s transition to a low carbon economy. The curious irony is that Germany’s nuclear stations represented a big chunk of low carbon energy, but alas no more. Pipes & Wires will make further comment as this issue unfolds.

Australia

Aus – introducing retail competition into Tasmania

Introduction

Most jurisdictions have introduced retail competition to their electricity markets in a staged fashion, starting with large customers. This article examines the Tasmanian government’s recent announcement that the final tier of customers (using less than 50,000kWh per year) will be able to choose their electricity retailer. This article examines that move.

Progressive contestability of customers

Tasmania has allowed contestability of retail customers for almost 7 years, starting with customers consuming more than 20,000,000kWh per year on 1st July 2006 and most recently with customers consuming between 50,000kWh and 150,000kWh per year on 1st July 2011.

Contestability for small retail customers

Tasmania will enter Full Retail Contestability (FRC) on 1st January 2014. A key mechanism for this will be the sale of Aurora Energy’s existing retail customers to at least 2 private sector retailers, which is expected to occur during the 2nd half of 2013. After the 1st January 2014, additional retailers will be able to enter the Tasmanian market and compete for customers.

All retailers will be required to offer a “standard retail contract” which includes (energy) tariffs set by the Tasmanian Economic Regulator (OTTER). A retailer cannot set tariffs higher than those set by OTTER. Retailers can also offer “market retail contracts” which must still meet minimum standards determined under the National Electricity Retail Law.

Next steps

FRC will involve the following steps...

- Introducing and passing legislation.

- Selling down 2 or more tranches of retail customers.

- Customers choosing their energy supplies post 1st January 2014.

Aus – vertical reintegration in the West

Introduction

Most of us can remember the vertical disaggregation of the former State Energy Commission of Western Australia into separate generation and retail companies, and the threatened vertical reintegration (Pipes & Wires #86 and #91). Earlier this month, Premier Colin Barnett confirmed the first step towards reintegrating Verve and Synergy ostensibly to slow rapidly increasing electricity prices. This article examines this move and considers whether it might actually achieve Barnett’s goal of slowing price increases.

A bit about the key players

The 2 electricity players are...

- Verve Energy, which owns and operates the states’ 4 major power stations at Kwinana, Cockburn, Pinjar and Muja. Verve also owns the Collie power station which is operated by a private company.

- Synergy, which supplies 900,000 electric customers in the South West Interconnected System.

Vertical reintegration

A good starting point for discussion would be Barnett’s premise that vertically reintegrating Verve and Synergy will slow electricity price increases. Comments that spring to mind include...

- The likely cost savings from vertical reintegration would need to exceed the costs of that reintegration.

- We need to have a clearer understanding of what exactly is causing the price rises before simply assuming that vertically reintegrating will stem those price rises. A little thought would suggest that many internal cost drivers such as wage increases, renewing aging plant, upgrading ICT, and funding future new plant won’t magically disappear just because Verve and Synergy are reintegrated. And indeed, external cost increases such as coal and gas prices won’t disappear either.

- Barnett has commented that a common board would provide a more coherent policy. It may well, but how much influence a more coherent policy might apply to increasing costs remains to be seen.

- As most of us know, a key principle of energy market reform is the insertion of a commercial interface with its associated risk-reward profile between generation and retail to promote competition. Such commercial interfaces also tend to expose loss-making activities, so odds are reintegration could allow some losses to get buried (which apparently was part of Verve’s problem, but which only became exposed when Verve was established as a stand-alone company).

- The government’s own Strategic Energy Initiative said that increased competition would help drive down prices, so it’s not clear how abolishing a key competition mechanism will contribute to lower prices.

- A couple of years ago, the Western Australian Energy Market Study concluded that regulated retail tariffs below the cost of supply were damaging some market participants. Now it appears that tariffs are too high.

So ... some interesting issues !!! What is clear is that this issue is certainly not unique to Western Australia’s energy market reform ... other jurisdictions have gone round the same cycle of firstly electric tariffs are too low to attract new investment, and then when prices increase voter anger emerges. Pipes & Wires will comment further as Barnett’s plans unfold.

General stuff

Consulting services that may be of interest to clients

Utility Consultants wide expertise extends well beyond the above projects ... if you need energy network advice chances are Utility Consultants has done work in that area. Here’s a sample of work done for clients over the last few years that demonstrate the breadth of skills, insight and experience that is available....

- Advised an electricity business on the regulatory implications of bringing externally contracted field services back in-house.

- Identified economic and regulatory arguments to support inclusion of transmission interconnection charge risk into network tariffs.

- Advised lines businesses on a regulator’s proposed treatment of CapEx and OpEx.

- Advised an international investor on gas distribution policy and regulatory trends.

- Identified national energy policy implications for lines businesses.

- Assisted a lines business to identify the burden of proof implied by regulatory determinations.

- Suggested amendments to a gas transmission AMP to strengthen the economic arguments.

- Identified electricity network investment characteristics as part of an acquisition study.

- Developed an AM framework for a gas distribution business to link AM to regulatory requirements.

- Identified OpEx – CapEx tradeoffs for an electricity lines business.

- Performed various substation growth and reinforcement assessments.

- Performed network physical and business risk studies.

- Compiled disaster recovery and business continuity plans.

Pick here to download a profile of recent projects, or here to contact Phil.

Guide to NZ electricity laws

I’ve compiled a “wall chart” setting out the relationship between various past and present electricity Acts, Regulations, Codes etc in sort of a chronological progression. To request your free copy, pick here.

A bit of light-hearted humor

What if price control had been around in the 1920’s and 1930’s ? A collection of photo’s with humorous captions looks at some of the salient features of price control. Pick here to download.

Conferences & training courses

The following conferences and training courses are planned...

- Electric utility basics – Sacramento, 6th – 7th May 2013.

- Depreciation fundamentals for utilities & energy companies – Denver, 6th – 7th May 2013.

- Internal auditing for utilities – Houston, 20th – 21st May 2013.

- Infrastructure, Investment & Regulation Conference – Sydney, 30th – 31st May 2013.

- Derivatives accounting for power & energy companies – Chicago, 12th – 13th June 2013.

- ACCC / AER Regulatory Conference – Brisbane, 25th – 26th July 2013.

- Fundamentals of the NZ electricity industry – Auckland, 2nd – 3rd September 2013.

- Fundamentals of the NZ electricity industry – Wellington, 16th – 17th September 2013.

- CIGRE International Symposium – Auckland, 16th – 17th September 2013.

Utility Consultants takes no responsibility for the content of individual courses or conferences, nor for any administrative or travel arrangements.

Wanted – old electricity history books

If anyone has an old copy of the following books (or any similar books) they no longer want I’d be happy to give them a good home…

- Wonders Of World Engineering (published 1937) – in particular editions 1 to 27.

- Distribution Of Electricity (WT Henley, the cable manufacturer)

- White Diamonds North.

- Northwards March The Pylons.

- Two Per Mile.

- Live Lines (the old ESAA journal).

- The Engineering History Of Electric Supply In New Zealand.

House-keeping stuff

Opt out from Pipes & Wires

Pick this link to opt out from Pipes & Wires. Please ensure that you send from the email address we send Pipes & Wires to.

Disclaimer

These articles are of a general nature and are not intended as specific legal, consulting or investment advice, and are correct at the time of writing. In particular Pipes & Wires may make forward looking or speculative statements, projections or estimates of such matters as industry structural changes, merger outcomes or regulatory determinations. These articles also summarise lengthy documents, and it is important that readers refer to those documents in forming opinions or taking action.

Utility Consultants Ltd accepts no liability for action or inaction based on the contents of Pipes & Wires including any loss, damage or exposure to offensive material from linking to any websites contained herein, or from any republishing by a third-party whether authorised or not, nor from any comments posted on Linked In, Face Book or similar by other parties.