# Pipes & Wires

## INSIGHT AND ANALYSIS OF TOPICAL ENERGY & INFRASTRUCTURE ISSUES

## Issue 140 – February 2015

From the editor’s desk…

Welcome to Pipes & Wires #140. This issue covers the following matters…

- The future of electric networks in the face of increasing rooftop solar.

- A whole range of regulatory decisions and policy changes in New Zealand and Australia.

- Shifts in global energy investment strategy.

- A water & sewage regulatory decision in England.

- The divergent approaches to accommodating rooftop solar in various US states.

- Formation of a national transmission grid in Japan.

Matters for attention in NZ

Readers’ attention is drawn to the following matters…

- Changes to the requirements for connected embedded generation to distribution networks (refer to article below).

- Increasing interest in ISO 55000:2014 in regard to asset management practices and systems.

- Revised standard NZS 7901:2014 for Safety Management Systems.

- Increased obligations for worker safety.

- The Electricity Authority’s intention to “improve distribution efficiency”.

- Increasing interest in ISO 37120:2014 in regard to sustainable community development.

Global

Global - the future of electricity distribution

Introduction

The trends toward micro-generation at individual houses seems to be accelerating. This article examines some of the issues and overviews a possible framework within which electricity distribution businesses (EDB’s) might manage these issues.

The increasing role of the prosumer

History records that before the current industrial age almost everybody was a prosumer (a word apparently developed by Alvin Toffler around 1980)… they grew their own food, made their own clothes, raised a few animals and often built their own houses at a micro scale. A key feature of the prosumer society was the lack of any need for large scale distribution channels. Two further interesting dimensions to this were…

- The absence of any obvious division of labor in the prosumer society, in which people had to be averagely good at a whole range of tasks rather than being able to get really good at any one task.

- The development firstly of canals and then of railways, which provided cheap distribution channels that made mass production cheaper and easier than prosumption, and provided a wider range of goods (particularly fresh food).

The role of technology in shaping the electricity industry

Electricity started off in a prosumer form in which users of electricity generated the electricity in their own basements around about 1879. Beginning with Edison’s Pearl St station in 1882, advancing technology in the remainder of the 1880’s and then into the 1890’s led to larger centralised generation plants of increasing scale, which of course required distribution and ultimately transmission which have since become engineering disciplines in their own right.

Advances in disruptive technologies are now looping back to the start of the technology cycle in which small scale technologies can be localised, which of course reduces the need for a distribution channel.

Some specific technologies and applications

The intermittent nature of wind and solar seemed to be the sticky point, however as Pipes & Wires #139 noted in the article about the village of Feldheim going energy self-sufficient there is also the burning of timber waste and manure which is obviously more secure.

The real breakthrough appears to be “solar plus batteries”, and it is that ability to buffer the intermittent nature of solar (and indeed small wind) that makes going off-grid realistic. On the issue of using electric cars to feed back into the grid, the current picture is that at least some of the demographics most likely to own an electric car will probably also be using it as a car during peak grid periods.

The changing role of distribution and transmission

So what might the role of distribution and transmission be in an increasingly prosumer electricity sector ?? I think we are catching a glimpse of this already as rooftop solar starts to nibble away the nett kWh conveyance that networks rely on to recover their costs (this on the back already reduced kWh from energy efficiency and a generally soft economy).

The first step in the changing role of networks will be a migration from bulk energy supply to “renewable buffering”, with a foreseeable second step being a further relegation as “battery storage” increases. So networks along with bulk generation (pretty much everything upstream of the meter box) will have to compete to survive and be relevant. The most obvious way for networks (and bulk generation) to survive is three-fold…

- For electrical loads to be “bigger” (either in kW or kWh terms) than what a prosumer’s own installation can supply. Electric cars would seem to be a good source of such load.

- To incentivise export of surplus electricity, as we’ve seen at Feldheim. So the feed-in tariff (buy-back rate) will have to be sufficiently high for electricity prosumers to want to be a nett exporter rather just self-sufficient. This will require EDB’s as well as traditional generators to offer some sort of feed-in tariff from within their existing cost structure, which will in turn require cost reduction and increasing scale of activities … a race to the bottom is quite likely.

- Get into the business of “solar plus batteries”, either by selling them or by leasing them. Leasing might prove to be a better option as at least some degree of control would be retained.

The likely future of price regulation

Survival of networks will require the overall price of delivered electricity to meet the following criteria…

- In terms of imported electricity, to be lower than the cost of self-generated electricity, at least for an equivalent reliability.

- In terms of exported electricity, to be high enough to encourage export rather than just prosumption.

If we step back from all this detail and consider that the raison d’être for regulation was the perceived imbalance of power (economic, not electric) we can quickly see that the balance of power is rapidly shifting in favor of customers, thereby weakening the case for price regulation.

New Zealand

NZ – amending the distributed generation requirements

Introduction

The minimum terms and conditions on which distributed generation can be connected to a distribution network have been regulated since 30th August 2007. This article examines the amendments to the requirements that will take effect on 23rd February 2015.

Regulatory framework

The original regulatory framework for connection of distributed generation was the Electricity (Connection of Distributed Generation) Regulations 2007. These regulations were revoked on 1st November 2010 by s166 of the Electricity Industry Act 2010 and are now in force as Part 6 of the Electricity Industry Participation Code.

The new Part 1A

In August 2014 the Electricity Authority completed its operational review of Part 6 which resulted in a new Part 1A to Schedule 6.1, which sets out a simplified connection process that can be used if the applicant meets certain conditions. On 15th December 2014 the Electricity Authority issued v1.0 of its Guidelines for connection of small scale (less than or equal to 10kW) distributed generation to a local network.

Key features of the new Part 1A include…

- Objectives including lowering the cost of connecting and reducing the safety risk by ensuring that distributed generators advise the EDB of connection.

- Provision for using the simplified connection process if a range of technical and operating standards have been met.

- A continuation of the very low maximum fees for applying, correcting a deficient application and inspecting the generator.

- A continuation of the very short periods for acknowledging and processing an application.

Preparing for Part 1A to take effect

The Electricity Authority expects EDB’s to prepare for Part 1A to take effect by amending its policies, processes and systems. Utility Consultants assisted several EDB’s to meet their obligations back in 2007, and is well placed to assist with Part 1A compliance. Pick this link or call Phil on (07) 854-6541.

NZ – revising the Input Methodologies

Introduction

Input Methodologies (IM’s) are used to specify how various components of economic regulatory models are to be calculated or manipulated, such as tax, depreciation, cost of capital etc. This brief article notes the changes to several IM’s that were ordered by the High Court as a result of Wellington International Airports Ltd and others v Commerce Commission [2013] NZHC 3289.

Legal framework

The legal framework for the IM’s is Subpart 3 of Part 4 of the Commerce Act 1986. This subpart inter alia sets out the purpose of the IM’s, what issues they must address, and the process for establishing and amending IM’s.

Determinations amended

The following IM’s have been amended…

| Sector | IM title | Ref. |
| --- | --- | --- |
| Electricity | Electricity Distribution Services Input Methodologies 2012. | [2012] NZCC 26. |
| Gas | Gas Distribution Services Input Methodologies Determination 2012. | [2012] NZCC 27. |
|  | Gas Transmission Services Input Methodologies Determination 2012. | [2012] NZCC 28. |
| Airport | Commerce Act (Specified Airport Services Input Methodologies) Determination 2010. | Decision #709. |

Interested readers should examine the Amended IM Publication in its fullness to see the detail of the amendments.

NZ – rethinking the low fixed charge regulations

Introduction

The Electricity (Low Fixed Charge Tariff Option for Domestic Consumers) Regulations 2004 have required electricity retailers to offer inter alia all primary residences a tariff in which there is a fixed charge of not more than $0.30 per day. The original thinking was that increasing fixed charges and the corresponding decline in variable (kWh) charges discouraged energy efficiency.

The economic implications

These low fixed charges have had a couple of economic implications…

- Retailers have had to repackage the mix of fixed and variable distribution tariffs they are charged by the electricity distribution businesses (EDB’s), so the fixed charge that the customer sees on their electric bill is probably quite different from the EDB’s fixed charge.

- Variable (kWh) charges that are higher than they otherwise might be encourage energy efficiency, but in doing so reduce the revenue available to cover fixed distribution costs. EDB’s may need to increase their variable charges which further discourages energy use, and which could ultimately lead to a death spiral.

- EDB’s have high fixed costs, and Ramsey’s pricing work tells us that the most economically efficient way of recovering high fixed costs is through fixed charges (price inelasticity and all that good stuff)

The proposed rethink

Over the last year or so the Electricity Authority has been considering the impact of low fixed charges on competition, reliability and efficiency, specifically…

- Do the low fixed charge regulations inhibit efficient distribution pricing and efficient retail pricing ?

- Do the low fixed charge regulations inhibit the efficient operation of the industry and adversely affect retail competition due to increased transaction costs ?

- Do the low fixed charge regulations inhibit retail competition by inhibiting innovation ?

The Authority notes issues such as possible impediments to developing TOU and DSM tariffs, and cross subsidies between customer groups. Affected parties should review the entire suite of documents on the Authority’s website.

Proposed timetable

At this stage the proposed timetable includes approval of the project scope and approach by February 2015, the development of a discussion paper and associated Authority briefing by July 2015 and a 12 week consultation period around July to September 2015. Pipes & Wires will comment further as this work progresses.

NZ – further cost of capital revisions

Introduction

The Commerce Commission has recently determined the following costs of capital…

- NZCC 38 [2014] that will apply to electricity line services and gas pipeline services for information disclosure regulation.

- NZCC 41 [2014] that will apply to any Customised Price Path (CPP) applications made by Vector and GasNet for either gas distribution or transmission services.

Key features of NZCC 38

The key feature of NZCC 38 is the follow through from the High Court ruling that led to the Commission adopting a 67th percentile to calculate the WACC. This follows through to many clauses in Determinations NZCC 17, NZCC 26, NZCC 27 and NZCC 28 (interested readers will need to follow the details clause-by-clause).

Key features of NZCC 41

The key feature of NZCC 41 is the setting of mid-point and 67th percentile WACC’s for any CPP applications made by Vector (gas transmission or gas distribution) and GasNet (gas distribution) before December 2015. These are as follows…

| Vanilla WACC period | Mid-point | 67th percentile |
| --- | --- | --- |
| 3 years | 7.11% | 7.64% |
| 4 years | 7.14% | 7.67% |
| 5 years | 7.22% | 7.75% |

Previous WACC decisions

Some of the Commissions’ previous WACC decisions are as follows.

| WACC decision applies to | Approx date | Mid-point WACC | 75th percentile WACC |
| --- | --- | --- | --- |
| Vector, GasNet CPP application before December 2015. | December 2014 | Vanilla 7.11%, 7.14%, 7.22% |  |
| All electricity CPP applications after 30th September 2014. | September 2014 | Vanilla 6.58%, 6.64%, 6.72% |  |
| Auckland, Christchurch Airports for 2015 disclosure year. | July 2014 | Vanilla 7.64% | Vanilla 8.63% |
| Vector, GasNet for 2015 disclosure year. | July 2014 | Vanilla 7.54% | Vanilla 8.35% |
| Transpower for 2015 disclosure year. | July 2014 | Vanilla 6.83% | Vanilla 7.55% |
| Wellington Airport for 2015 disclosure year. | April 2014 | Vanilla 7.70% |  |
| EDB’s for 2015 disclosure year. | April 2014 | Vanilla 6.89% |  |
| Powerco gas CPP applications before March 2015. | March 2014 | Vanilla 5-year 7.54% | Vanilla 5-year 8.35% |
| Maui pipeline (gas transmission). | January 2014 | Vanilla 7.64%, post-tax 6.85% |  |
| Vector, GasNet CPP applications before December 2014. | December 2013 | Vanilla 7.56% |  |
| All CPP applications before 30th September 2014 | September 2013 | Vanilla from 6.26% to 6.69% | Vanilla from 6.97% to 7.41% |
| Transpower | July 2013 |  | Vanilla 6.85% , post-tax 6.17% |
| Vector gas distribution, GasNet | July 2013 |  | Vanilla 7.65%, post-tax 6.97% |
| Auckland & Christchurch airports | July 2013 |  | Vanilla 8.00%, post-tax 7.75% |
| All electricity distribution | April 2013 |  | Vanilla 6.83%, post-tax 6.14% |
| Maui pipeline (gas transmission) | February 2013 |  | Vanilla 7.46%, post-tax 6.80% |
| All gas distribution and gas transmission DPP’s | December 2012 |  | Vanilla 6.63% |
| Vector, GasNet CPP’s | December 2012 | Vanilla 6.39% (5 years) |  |
| Powerco gas distribution | October 2012 | Vanilla 6.83%, post-tax 6.12% |  |

Cool video clip & magazine article

Most of us are aware how asset management has changed over the years on a couple of key dimensions. This article compares the maintenance of trams in England in 1937 with the maintenance of trams in Australia in 2014…

- Tramway cars & trolley buses (Wonders of World Engineering, issue 32).

- Asset management software helps create world-class services at Yarra Trams.

These two articles lead to the following trends…

- A migration from a simple time-based maintenance strategy to a condition-based maintenance strategy.

- The increased role of asset condition information in driving that maintenance strategy.

- The increased role of real-time, mobile technologies in capturing data.

- The emphasis on a single, company-wide asset condition database.

- The shift in emphasis from engineering excellence as an end in itself, to engineering (asset management) excellence as a means to achieving asset performance.

(Editor’s note … Pipes & Wires is not endorsing the specific software product featured in the Yarra Trams video).

Australia

NSW, ACT – the draft electricity revenue decisions

Introduction

The Australian Energy Regulator (AER) has recently released its Draft Decisions for the electricity distributors in the Australian state of New South Wales (NSW) and the Australian Capital Territory (ACT) that will apply for the 4 years until 30th June 2019 (noting that the period 1st July 2014 to 30th June 2015 was covered by a transitional period discussed in Pipes & Wires #133). This article compares the parameters sought in each of the 4 Regulatory Proposals with the AER’s Draft Decisions to provide some context for further analysis.

Legal framework

The legal framework for the electricity distribution decisions is Chapter 6 of the National Electricity Rules, which is made pursuant to the National Electricity (South Australia) Act 1996.

Summarising the decisions to date

- Key parameters of ActewAGL’s Draft Determination include…

| Parameter | Proposal | Draft Decision | Revised Proposal | Final Decision |
| --- | --- | --- | --- | --- |
| Total revenue | $892m | $576m |  |  |
| OpEx | $384m | $223m |  |  |
| CapEx | $372m | $244m |  |  |
| Depreciation | $180m | $177m |  |  |
| Opening RAB | $850m | $850m |  |  |
| WACC | 8.99% | 6.88% |  |  |

- Key parameters of the AusGrid Draft Determination include …

| Parameter | Proposal | Draft Decision | Revised Proposal | Final Decision |
| --- | --- | --- | --- | --- |
| Total revenue | $12,189m | $8,848m |  |  |
| OpEx | $2,888m | $1,759m |  |  |
| CapEx | $4,421m | $2,546m |  |  |
| Depreciation | $829m | $825m |  |  |
| Opening RAB | $14,370m | $14,287m |  |  |
| WACC | 8.83% | 7.15% |  |  |

- Key parameters of the Endeavour Energy Draft Determination include …

| Parameter | Proposal | Draft Decision | Revised Proposal | Final Decision |
| --- | --- | --- | --- | --- |
| Total revenue | $5,256m | $3,997m |  |  |
| OpEx | $1,489m | $1,068m |  |  |
| CapEx | $1,746m | $1,070m |  |  |
| Depreciation | $400m | $400m |  |  |
| Opening RAB | $5,593m | $5,599m |  |  |
| WACC | 8.83% | 7.15% |  |  |

- Key parameters of the Essential Energy Draft Determination include …

| Parameter | Proposal | Draft Decision | Revised Proposal | Final Decision |
| --- | --- | --- | --- | --- |
| Total revenue | $6,824m | $4,970m |  |  |
| OpEx | $2,513m | $1,552m |  |  |
| CapEx | $2,618m | $1,934m |  |  |
| Depreciation | $612m | $613m |  |  |
| Opening RAB | $6,770m | $6,685m |  |  |
| WACC | 8.83% | 7.15% |  |  |

Pipes & Wires will comment further as the determination process progresses.

Aus – amending the distribution pricing rules

Introduction

Pipes & Wires #137 examined the draft distribution pricing rules proposed by the Australian Energy Markets Commission (AEMC). This article examines the AEMC’s Rule Determination that was released in late November 2014.

Background

The draft rule proposed a new pricing objective requiring distribution prices to reflect the company’s efficient costs of providing services to each customer. One of the specific features of the draft rule change is that it will require prices to individual customers to more accurately reflect the costs those customers create. The AEMC is concerned that changes in customer lifestyles and energy use technologies mean that load profiles can be very different from the load profiles assumed by legacy pricing methodologies.

Features of the Rule Determination

Key features of the Rule Determination include…

- Each network tariff must be based on the long-run marginal cost of providing the service.

- The revenue recovered from each distribution tariff must reflect the distribution business’ total efficient costs of supplying all customers on that tariff.

- Distribution businesses tariffs and changes in tariffs must be consistent over time and capable of being understood by customers.

- Distribution tariffs must comply with any state pricing obligations (such as uniform prices across the entire state, which will dilute the intention of economically efficient tariffs).

UK & Europe

Italy – migrating electricity investment to South America

Introduction

Italian energy company ENEL recently bought 60% of Chilean energy company Enersis SA for €8.25b in the form of 20% Enersis shares plus 100% of Endesa Latinamérica SA which owned 40% of Enersis. This article looks beyond that acquisition to consider ENEL’s strategy of migrating capital from Europe to South America.

ENEL’s plans

ENEL’s current plans include…

- Closing the sale of 17% of Endesa.

- Selling about €4.4b assets in eastern Europe.

- Consolidating the purchase of Enersis.

- Rolling out €2.1b of investment in Chile by 2020.

Economic growth

ENEL’s main strategic driver is the recovering economic growth in South America (forecast to be 2.3%) whilst growth in Europe lags at only 1.6%.

Regulatory and policy risks

South American countries have proved to have a high degree of regulatory and policy risk in the past, and it wouldn’t be unfair to say that many US and European electric companies (and phone companies for that matter) have taken a haircut. So it will be interesting to see how companies like ENEL have balanced those risks against potentially higher investment returns.

England & Wales – the final water & wastewater determinations

Introduction

Pipes & Wires #127 noted OFWAT’s compilation of the price controls that will apply to England & Wales’ 10 water and wastewater businesses and 8 water businesses for 2015 – 2020 regulatory period. This article notes OFWAT’s Final Determination.

Key features of the Final Determination

The Final Determination comprises a letter and an appendix addressed to each of the 18 regulated companies setting out the service standards and maximum prices. The following documents provide useful summaries…

- Outcomes.

- Wholesale water and wastewater costs and revenues.

- Household retail costs and revenues.

- Non-household retail costs and revenues.

This concludes Pipes & Wires coverage of the England & Wales water and wastewater determinations.

North America

US – increasing fixed electric tariffs

Introduction

The battle over increasing fixed electric tariffs seems to be intensifying. This article picks up on a few recent news articles to determine the current state of play.

The issues on each side of the divide

Just in case anyone hasn’t been following this trend, the issues on each side of the divide are…

- Electric companies that have historically recovered their costs on a nett kWh basis are finding their revenues are eroding in the face of increasing rooftop solar. They understandably want to migrate towards fixed tariffs that are independent of both the direction and magnitude of the kWh.

- Advocates of rooftop solar claim that higher fixed charges reduce the incentive for rooftop solar (which it does), and they understandably want tariffs to retain a high nett kWh component.

The regulatory takes on this issue

States regulators seem to be taking a range of differing positions on the issue … a couple of those positions are as follows…

- Wisconsin – the WPSC has recently approved significant increases in both the We Energies and the Wisconsin Public Service Corporation’s fixed tariffs (in the case of We Energies, from $9 per month to $16 per month). The WPSC was divided on the issue, and understandably advocates of rooftop solar are angry.

- Arizona – the Arizona Corporation Commission sharply reduced the Arizona Public Service Company’s proposed $50 per month rooftop solar charge to $5 per month.

- Florida – the Florida PSC agreed that the $2 per Watt solar rebate program was flawed, and terminated that program as of 31st December 2015.

- South Carolina – the SCPSC has developed what commentators claim is an innovative and forward-looking rooftop solar regulatory framework in which the feed-in multiple is 1 and customers can keep their existing tariff structure until 2025. This model seems to have pleased both sides of the divide.

The critical issues in amongst all this

A couple of critical issues amongst all this are…

- Retaining high nett kWh charges (with corresponding low fixed charges) provides stronger short-term incentives to install rooftop solar, and probably further erode nett kWh revenue. The possible response of increasing nett kWh charges to make up for lost revenue will provide an even stronger incentive for more rooftop solar (accelerating the death spiral) whilst also extracting an increasing subsidy from those customers who don’t have solar (including the poor who can’t afford them).

- Restructuring tariffs to a higher fixed charge with lower (nett) kWh charges weakens the short-term incentive but strengthens the long-term incentive for rooftop solar. This could result in more solar, albeit over a longer period.

- What seems to be a determined unwillingness on the part of rooftop solar advocates to acknowledge that the local distribution network that so many seem keen to remain connected to has a high fixed cost regardless of the nett kWh. It’s fine if customers with solar want to go permanently off-grid, but the issue needs to be forced that those customers can’t stay connected and not pay the full long-run economic cost of connection.

- The importance of regulators correctly balancing the promise of cheap solar energy with the fair and reasonable recovery of legacy investments that regulators have previously committed to.

Pipes & Wires will comment further as trends, patterns and specific issues emerge.

US – possible conditions on the Exelon – Pepco merger

Introduction

Previous issues of Pipes & Wires have examined Exelon’s proposed acquisition of Pepco. This issue notes a few more approvals but also notes pressure on the Maryland Public Service Commission (PSC) to impose additional conditions.

Key features of Exelon’s offer

Exelon has made a $6.8b all-cash offer of $27.25 per Pepco share, which represents a 24.7% premium to Pepco’s closing price on the announcement day.

The required approvals

The following regulatory approvals are currently being sought…

| Regulator | Current status of approval |
| --- | --- |
| Federal Energy Regulatory Commission. | Application approved 20th November 2014. |
| District of Columbia Public Service Commission. | Application filed on 18th June. |
| Delaware Public Service Commission. | Application filed on 18th June. |
| Maryland Public Service Commission. | Application filed on 19th August, approval may take up to 15 months. |
| New Jersey Board of Public Utilities. | Application filed on 18th June. |
| Virginia State Corporation Commission. | Application approved 8th October 2014. |

Pressure on the Maryland PSC

Pressure on regulators approving mergers tends to fall into 3 categories…

- What we might call genuine short-term customer protection issues, such as ensuring a fair sharing of merger benefits and assurances that strengthened market positions won’t be abused. Customer advocacy groups tend to make strong representation to the state regulators and the FERC on these matters.

- What we might call long-term customer protection issues, such as industry structure, market share trends, efficiency mechanisms, tariff structures, fuel mix, transmission grid requirements, technology roll-outs, efficiency of long-term electricity purchase contracts etc. Representation to state regulators and the FERC tends to come from economic policy groups who can see further than short-term tariffs.

- Wider public policy issues, such as requiring the merged entities to implement renewable energy programs, retaining a specified number of jobs within the county or state, or retaining corporate control with the state. A wide range of single issue groups make representation to state regulators in attempts to make supporting their cause a condition for approval.

The pressures on the Maryland PSC appear to be from the 1st and 2nd categories…

- Apparently insufficient sharing of merger benefits with customers, and strengthened market positions.

- An apparent unwillingness by Exelon to adopt policies that will increase the roll-out of clean technologies, and a proposal to disallow demand response.

It looks like the Maryland PSC approval will be lengthy, however Pipes & Wires will comment as news emerges.

Asia

Japan – regional coordination of electric transmission

Introduction

Pipes & Wires #123 discussed Japan’s transition towards a liberalised electricity market. This article notes the passing of legislation to establish a nation-wide grid operator on 1st April 2015.

Wider reform agenda

Wider features of the reform include…

- Establishing a nation-wide grid operator in 2015, with authority over real-time generation dispatch. This will presumably have to consider the limit of 1,500MW transfer capacity of the 4 back-to-back convertors that interconnect the 50Hz grid in the east and the 60Hz grid in the west.

- Establish a separate electricity regulator in 2015. Many policy and regulatory functions are currently performed by the Ministry of Trade & Industry.

- Plans to introduce legislation in 2014 to introduce competition into the domestic market in 2016.

- Plans to introduce legislation in 2015 to require operational and financial separation of lines and energy by about 2018. This would appear to stop short of full ownership separation.

- Abolition of all price controls by about 2018 (presumably only retail price controls).

Legislation enabling nation-wide transmission

In August 2014 legislation was passed to establish the Organisation for Cross-regional Coordination of Transmission Operators (OCCTO) as part of the Electricity Business Act.

The purposes of OCCTO

OCCTO will have the following purposes…

- Promoting the integration of regional transmission grids to facilitate nation-wide electricity trading.

- Providing national coordination of generation-demand balancing under both normal and emergency conditions.

Recent client projects

Here’s a sample of work done for clients over the last few years that demonstrate the breadth of skills, insight and experience that is available from Utility Consultants....

- Advising a major global investment bank on the revenue and capital cost characteristics of the New Zealand generation industry.

- Assessing the investment characteristics of proposed CapEx increases to an investor-owned electric network.

- Assessing three EDB’s asset management practices against ISO 55000:2014.

- Assessing an EDB’s compliance with the lines – generation separation requirements of the Electricity Industry Act 2010.

- Assessing an EDB’s compliance with the Electricity Industry Participation Code.

- Compiling safe operating procedures for a wide range of distribution switches.

- Advising an investor on the investment characteristics and regulatory constraints of small hydro development and grid connection.

- Reviewing the engineering aspects of an EDB’s lines pricing methodology.

- Advising a major global consultancy on specific features of emerging electricity transmission and distribution regulatory regimes, including period length, potential for re-opening determinations, caps & collars, total expenditure levels and incentive mechanisms.

- Examining the economic efficiencies of an EDB’s pricing methodologies.

- Advised on the wider philosophical and potential tax issues of the way consumer discounts are paid by EDB’s.

- Prepared an independent engineer’s report to justify proposed alternative asset lives.

- Advised an electricity business on the regulatory implications of bringing externally contracted field services back in-house.

- Identified economic and regulatory arguments to support inclusion of transmission interconnection charge risk into network tariffs.

- Advised lines businesses on a regulator’s proposed treatment of CapEx and OpEx.

- Advised an international investor on gas distribution policy and regulatory trends.

- Identified national energy policy implications for lines businesses.

- Assisted a lines business to identify the burden of proof implied by regulatory determinations.

- Suggested amendments to a gas transmission AMP to strengthen the economic arguments.

- Identified electricity network investment characteristics as part of an acquisition study.

- Developed an AM framework for a gas distribution business to link AM to regulatory requirements.

- Identified OpEx – CapEx tradeoffs for an electricity lines business.

- Performed various substation growth and reinforcement assessments.

- Performed network physical and business risk studies.

- Compiled disaster recovery and business continuity plans.

Pick here to download a profile of recent projects, or here to contact Phil.

General stuff

Guide to NZ electricity laws

I’ve compiled a “wall chart” setting out the relationship between various past and present electricity Acts, Regulations, Codes etc in sort of a chronological progression. To request your free copy, pick here. It looks really cool printed in color as an A2 or A1 size.

A bit of light-hearted humor

What if price control had been around in the 1920’s and 1930’s ? A collection of photo’s with humorous captions looks at some of the salient features of price control. Pick here to download.

Conferences & training courses

The following conferences and training courses are planned...

- Fundamentals of the NZ electricity industry, Wellington, 16th – 17th March 2015.

- Fundamentals of the NZ electricity industry, Auckland, 20th – 21st April 2015.

Utility Consultants takes no responsibility for the content of individual courses or conferences, nor for any administrative or travel arrangements.

Wanted – old electricity history books

If anyone has an old copy of the following books (or any similar books) they no longer want I’d be happy to give them a good home…

- Distribution Of Electricity (WT Henley, the cable manufacturer)

- Northwards March The Pylons.

- Two Per Mile.

- Live Lines (the old ESAA journal).

- The Engineering History Of Electric Supply In New Zealand.

House-keeping stuff

Opt out from Pipes & Wires

Pick this link to opt out from Pipes & Wires. Please ensure that you send from the email address we send Pipes & Wires to.

Disclaimer

These articles are of a general nature and are not intended as specific legal, consulting or investment advice, and are correct at the time of writing. In particular Pipes & Wires may make forward looking or speculative statements, projections or estimates of such matters as industry structural changes, merger outcomes or regulatory determinations. These articles also summarise lengthy documents, and it is important that readers refer to those documents in forming opinions or taking action.

Utility Consultants Ltd accepts no liability for action or inaction based on the contents of Pipes & Wires including any loss, damage or exposure to offensive material from linking to any websites contained herein, or from any republishing by a third-party whether authorised or not, nor from any comments posted on Linked In, Face Book or similar by other parties.