# Pipes & Wires

## INSIGHT AND ANALYSIS OF TOPICAL ENERGY & INFRASTRUCTURE ISSUES

## Issue 141 – March 2015

From the editor’s desk…

Welcome to Pipes & Wires #141. After much thought I’ve decided to change the format of Pipes & Wires from geographical clustering of articles to clustering by topic as there are an increasing number of issues that are global and don’t neatly fit into any one country or continent. So … enjoy.

Matters for attention in NZ

Readers’ attention is drawn to the following matters…

- Changes to operating procedures for Long & Crawford Manchester (later rebadged as GEC-Alsthom) oil-insulated combined fuse switches after an explosion at the Morley Galleria shopping mall in Perth, Australia.

- Changes to the requirements for connecting embedded generation to distribution.

- Increasing interest in ISO 55000:2014 in regard to asset management practices and systems, and the associated withdrawal of BSI PAS 55:2008.

- Revised standard NZS 7901:2014 for Safety Management Systems.

- Increased obligations for worker safety.

- The Electricity Authority’s intention to “improve distribution efficiency”.

- Increasing interest in ISO 37120:2014 in regard to sustainable community development.

Asset strategy & management

Withdrawal of asset management standard PAS 55:2008

Readers should note that the asset management standard PAS 55:2008 was withdrawn on 1st February 2015, and effectively superseded by ISO 55000. That doesn’t mean that all the hard work of achieving PAS 55 certification is now worthless, but rather that the internationally consistent ISO 55000 is now the preferred standard. To discuss how your company can move towards ISO 55000 certification, pick here.

Solar, electric cars & nett metering

US – shaping the rooftop solar regulatory framework

Introduction

Pipes & Wires #140 noted that the South Carolina Public Service Commission developed what commentators claimed was an innovative and forward-looking rooftop solar regulatory framework in which the feed-in multiple is 1 and customers can keep their existing tariff structure until 2025. This article examines matters in a bit more detail and suggests that the way forward might not be as smooth as was hoped for.

The Distributed Energy Resource Program Act 2014

Section 2 of this Act sets out the South Carolina Distributed Energy Resource Act, the goals of which are to promote the establishment of a reliable, efficient and diversified portfolio of energy resources for the State. The Act provides inter alia for electric companies supplying over 100,000 customers to apply to the PSC for approval of a renewable energy program that includes changes to tariffs that support the goals of the Act.

South Carolina Gas & Electric has developed a Renewable Generation Plan which is expected to promote about 100MW of additional solar generation by 2020.

Objections to the Plans

The Alliance For Solar Choice has attacked SCG&E’s Plan, claiming that the Plan is not as transparent as SCG&E claims. In response, SCG&E says that customers can choose an alternative regulated rate if they don’t like the SCG&E terms.

So what do we make of this ??

The battle lines seem to be drawn around a couple of key issues…

- Expectations that rooftop solar owners will be paid high prices for their exported electricity, ostensibly a lot higher than the price that those very same connected customers would pay for the equivalent imported electricity. If the exported electricity was actually reducing the electric company’s costs by reducing peak demand or avoiding network investment, sure that would be fine. However in many cases solar panels are oriented to the midday sun so that the exported electricity just piles into the trough in the demand profile.

- Expectations that rooftop solar owners somehow shouldn’t have to pay the full economic cost of connecting to the local distribution network which they all admit is an integral part of capturing feed-in tariffs.

My guess is that at least some degree of impasse will remain until there is an acceptance that distribution network connections must be fully paid for. On that note it is pleasing to see the New Zealand Electricity Authority wanting solar users to see the costs their investment may impose on others. The Authority also went on to note that perverse pricing signals that were often driven by environmental objectives are now creating longer term issues.

Aus – solar changes the network demand characteristics

Introduction

Penetration of rooftop solar has reached 23% in South Australia … 174,000 installations with an installed capacity of about 550MW. This article takes a closer look and unpacks 2 critical solar issues … changes to network demand profiles, and the need to move away from nett kWh metering … and then concludes with a challenge to policy makers & regulators.

Changes to the South Australian demand profile

Electricity from rooftop solar effectively displaces imported (mains) electricity, so that the demand profile “seen” by the network may be a lot less than the actual electricity demand. The following facts should help to elaborate that point…

- The half-hour from 4:30pm to 5:00pm on Thursday 16th January 2014 was a record demand for Victoria and South Australia of 13,225MW. This was the coincident demand “seen” by the 6 combined distribution networks.

- During that half-hour period it is thought that rooftop solar was supplying an additional 410MW, meaning that the total Victoria and South Australian peak was probably more like 13,635MW.

So rooftop solar would’ve avoided the operation of about 400MW to 500MW of peaking plant, as well as avoiding transmission and distribution peaks. That is long-term investment that can be avoided, and which provides the opportunity to share those avoided costs with customers through amended and more innovative tariffs.

Further research indicates that over the years from 2008 to 2013 increasing rooftop solar penetration has reduced South Australia’s average summer day demand by about 150MW but has also shifted the timing of the peak from 2pm to 6pm. More recent reports on the back of further increases in solar penetration indicate that the (grid) peak has shifted even further into the evening to about 7:30pm. Better storage may well change the magnitude and timing of the traditional morning and evening peaks even further.

The need to move away from nett kWh metering

SA Power Networks has indicated that it will need to migrate its tariffs away from a nett kWh “consumption” basis to a demand basis. No surprises there … most electric companies around the world are saying that.

A challenge to policy makers & regulators

The need to move away from nett-kWh based tariffs is now abundantly clear. Policy makers & regulators are encouraging and expecting electric companies to be innovative and responsive to increased solar penetration, but seem slow to allow correspondingly innovative tariffs that reflect the true costs of operating a network with a high solar penetration.

As noted in the previous article, the New Zealand Electricity Authority wants solar owners to see the true economic costs they impose both on the networks and on the other customers who don’t install solar panels. I’d offer every encouragement for the Electricity Authority to codify those principles as policy, and secondly for other regulators to follow this important lead.

US – abandoning nett metering in the Aloha State

Introduction

Nett metering seems to be an integral part of the solar debate. This article examines Hawaiian Electric Company’s (HECO) moves to abandon nett metering and replace it with an alternative tariff structure that reduces the subsidy from non-solar to solar customers.

The state of solar in Hawaii

Most of us can imagine that anything solar would go well in Hawaii, preferably close to one of the magnificent beaches. HECO has solar penetration rates of between 9% and 12% on its various islands, or about 20x the national average solar penetration rate of 0.5%. The expected costs of the subsidy from the 88% of non-solar customers to the 12% who have nett metering is about $50m, which is far from trivial.

HECO’s proposed metering and tariff plan

HECO recently filed a Transitional Distributed Generation Plan with the Hawaii Public Utilities Commission which proposed a feed-in tariff based on HECO’s true cost of connecting solar customers, which is pretty much only about ½ the current tariff. HECO argues (quite correctly) that network operation, maintenance and renewal costs must be deducted from what is paid to customers.

Opposition to HECO’s proposed tariffs

Advocates of solar are claiming that…

- The treatment of exported electricity is analytically incorrect.

- There is no time-of-use (TOU) rates within the tariff.

Just how analytically sound HECO’s treatment of exported electricity is can be verified by economic and engineering studies, however the prima facie claim that there are no TOU rates does seem concerning given that exported solar electricity during peak times can help to significantly offset air conditioning load (and should therefore be rewarded).

Where might all this go ??

There are no obvious signs that advocates of solar are moving away from their expectations of free-riding the network, however Pipes & Wires will continue to watch this one closely especially as HECO is regarded as being at the forefront.

Cool stuff

Conference transaction now on line

A couple of weeks ago I starting reading a cool book entitled “Mercury-Arc Current Convertors” by H.Rissik, published in 1947. This book referred to the Second World Power Conference in Berlin in 1930, so I thought I’d have a poke around and see what I could find about these early conferences.

And here it is … The Transactions Of The First World Power Conference from London in 1924 are now on line. The conference lasted 13 days from 30th June to 12th July, and I guess some of the 2,000 delegates (like the dudes from California) would’ve taken 5 or 6 days to travel each way so that’s pretty much 3½ weeks to attend a conference. By all accounts the banquet was pretty good as well … 6,000 bottles of wine, 2,000 chooks and ½ ton of turtle meat for the soup.

Newly published book – “Keeping The Lights On”

Well-known electricity historian and author Helen Reilly has recently published her latest book “Keeping The Lights On – The History Of System Operations In New Zealand 1939 – 2013”. Pick here to order your copy for only $46.50 from Grid Heritage. It’s a thoroughly good read, and complements Helen’s previous book “Connecting The Country”.

Regulatory decisions

NZ – determining the WACC for the Maui Pipeline

Introduction

The Commerce Commission has recently determined the cost of capital that will apply to Maui Development Limited for the 2016 information disclosure, known as NZCC 1.

Regulatory framework

The regulatory framework for setting the Maui WACC’s is set out in Subpart 4 of Part 2 of the Gas Transmission Services Input Methodologies Determination 2012.

Key features of NZCC 1

The key features of NZCC 1 are the setting of vanilla and post-tax WACC’s for the 5 year period commencing on the first day of the 2016 disclosure year ie. 1st January 2015. These are as follows…

| WACC method | 25th percentile | Mid-point | 75th percentile |
| --- | --- | --- | --- |
| Vanilla WACC | 6.27% | 7.08% | 7.89% |
| Post-tax WACC | 5.58% | 6.39% | 7.20% |

Previous WACC decisions

Some of the Commissions’ previous WACC decisions are as follows.

| WACC decision applies to | Approx date | Mid-point WACC | 75th percentile WACC |
| --- | --- | --- | --- |
| Maui Developments for 2016 disclosure year | January 2015 | Vanilla 7.08% | Vanilla 7.89% |
| Vector, GasNet CPP application before December 2015. | December 2014 | Vanilla 7.11%, 7.14%, 7.22% |  |
| All electricity CPP applications after 30th September 2014. | September 2014 | Vanilla 6.58%, 6.64%, 6.72% |  |
| Auckland, Christchurch Airports for 2015 disclosure year. | July 2014 | Vanilla 7.64% | Vanilla 8.63% |
| Vector, GasNet for 2015 disclosure year. | July 2014 | Vanilla 7.54% | Vanilla 8.35% |
| Transpower for 2015 disclosure year. | July 2014 | Vanilla 6.83% | Vanilla 7.55% |
| Wellington Airport for 2015 disclosure year. | April 2014 | Vanilla 7.70% |  |
| EDB’s for 2015 disclosure year. | April 2014 | Vanilla 6.89% |  |
| Powerco gas CPP applications before March 2015. | March 2014 | Vanilla 5-year 7.54% | Vanilla 5-year 8.35% |
| Maui pipeline (gas transmission). | January 2014 | Vanilla 7.64%, post-tax 6.85% |  |
| Vector, GasNet CPP applications before December 2014. | December 2013 | Vanilla 7.56% |  |
| All CPP applications before 30th September 2014 | September 2013 | Vanilla from 6.26% to 6.69% | Vanilla from 6.97% to 7.41% |
| Transpower | July 2013 |  | Vanilla 6.85% , post-tax 6.17% |
| Vector gas distribution, GasNet | July 2013 |  | Vanilla 7.65%, post-tax 6.97% |
| Auckland & Christchurch airports | July 2013 |  | Vanilla 8.00%, post-tax 7.75% |
| All electricity distribution | April 2013 |  | Vanilla 6.83%, post-tax 6.14% |
| Maui pipeline (gas transmission) | February 2013 |  | Vanilla 7.46%, post-tax 6.80% |
| All gas distribution and gas transmission DPP’s | December 2012 |  | Vanilla 6.63% |
| Vector, GasNet CPP’s | December 2012 | Vanilla 6.39% (5 years) |  |
| Powerco gas distribution | October 2012 | Vanilla 6.83%, post-tax 6.12% |  |

UK – amending the license conditions for slow-track licensees

Introduction

The RIIO-ED1 regulatory framework recently introduced by Ofgem included provision for fast-track approval of an applicant distribution network operators’ (DNO) business plan (rate case). This article examines the additional and amended license conditions that have been imposed on those DNO’s that did not achieve fast-track approval.

The RIIO-ED1 regulatory regime

All of the UK’s 14 electricity distribution licenses (held by 6 DNO’s) are subject to the 5th electricity distribution price control (EDPR5) until 31st March 2015. On 1st April 2015 the licenses will become subject to the RIIO-ED1 regime which is based on specifying outcomes rather than prescriptively focusing on inputs. The wider philosophy is “Revenue = Incentives + Innovation + Outputs”.

The process of fast-track approval

The incentive feature has been carried through to the business plan submission and assessment process by providing for business plans of sufficiently high quality to be fast-tracked and receive early approval (subject to consultation), with the incentive being to avoid resubmitting a business plan that Ofgem considers to be deficient.

Assessment of the DNO business plans

The 6 DNO’s submitted a combined 14 business plans to Ofgem in July 2013. After an initial assessment in November 2013, Ofgem decided to fast-track Western Power Distribution’s (WPD) 4 business plans and noted that the DNO’s had clearly learnt from the RIIO-T1 and RIIO-GD1 electricity transmission, gas transmission and gas distribution price reviews.

Ofgem’s final view was that only the 4 WPD business plans met the 5 criteria for fast-tracking, and that the licenses held by the other DNO’s would be subject to additional and amended license conditions to reflect Ofgem’s Final Determinations of November 2014.

The slow-track license conditions

In February 2015 Ofgem wrote to the 5 DNO’s whose collective 10 business plans were not fast-tracked setting out a range of additional and amended license conditions. Subsequent to that, Northern Powergrid and British Gas have sought permission from the Competition & Markets Authority to appear various elements of the slow-track settlement.

Mergers & acquisitions

US - New Jersey regulators approve Exelon-Pepco merger

Introduction

Previous issues of Pipes & Wires have examined Exelon’s proposed acquisition of Pepco. This issue notes the New Jersey Board Of Public Utilities approval.

Key features of Exelon’s offer

Exelon has made a $6.8b all-cash offer of $27.25 per Pepco share, which represented a 24.7% premium to Pepco’s closing price on the announcement day.

Key features of the New Jersey Board of Public Utilities approval

Key features of this approval include…

- Achieving a settlement between Exelon, Pepco, the Board and the Independent Energy Producers of New Jersey that included provisions for $15m of efficiency gains for customers of Atlantic City Electric.

- Establishing a fund of $62m to provide rebates to Atlantic City Electric customers.

Status of the required approvals

The status of the regulatory approvals is…

| Regulator | Current status of approval |
| --- | --- |
| Federal Energy Regulatory Commission. | Application approved 20th November 2014. |
| District of Columbia Public Service Commission. | Application filed on 18th June 2014. |
| Delaware Public Service Commission. | Application filed on 18th June 2014. |
| Maryland Public Service Commission. | Application filed on 19th August 2014, approval may take up to 15 months. |
| New Jersey Board of Public Utilities. | Approved on 11th February 2015. |
| Virginia State Corporation Commission. | Application approved 8th October 2014. |

Pipes & Wires will comment further as the last 3 approvals emerge.

US – the We Energies – Integrys merger

Introduction

Wisconsin electric company We Energies has announced a $9.1b bid for Integrys Energy Group. This article examines the key features of the deal and the surrounding regulatory requirements.

A bit about We Energies

We Energies owns the 2 regulated companies Wisconsin Electric Power Company and Wisconsin Gas LLC that supplies 1,143,000 electric customers, 1,081,000 gas customers and 429 steam customers across Wisconsin and the upper Michigan peninsula.

A bit about Integrys

Integrys Energy Group is a holding company based in Chicago that includes 5 regulated electric and gas companies which span Michigan, Minnesota, Wisconsin and Illinois…

- Michigan Gas Utilities.

- Minnesota Energy Resources.

- North Shore Gas.

- People’s Gas.

- Wisconsin Public Service.

These 5 regulated companies collectively supply 1,365,000 gas customers and 445,000 electric customers.

The proposed merger

The proposed merger is a combined stock, cash and assumption of debt deal totaling $9.1b which values Integrys at $71.47 per share. The merged company would supply 1,490,000 electric customers and 2,445,000 gas customers and would be headquartered in Milwaukee.

Required regulatory approvals

Approvals from the following (energy) regulators are required…

- Federal Energy Regulatory Commission.

- Wisconsin Public Service Commission.

- Illinois Commerce Commission.

- Michigan Public Service Commission.

- Minnesota Public Utilities Commission.

Emerging issues

Most of the mergers examined by Pipes & Wires include a wide range of public skepticism over exactly how good the deal will be for customers, and the We Energy – Integrys merger is no exception. An interesting adjunct to this is We Energies proposal to sell its Presque Isle generating station to the Upper Peninsula Power Company so that Upper Peninsula customers are not paying system support payments in return for the Michigan governor’s support for the merger.

Pipes & wires will comment further as this deal progresses.

Industry structural changes

Poland – building an energy champion

Introduction

The formation of energy champions to fly the national flag (or least build a sustainable energy company) in the face of regionalisation is not new. This article examines Poland’s attempt to build such an energy champion.

Other energy champions

Long-time readers might remember these previous attempts to form energy champions…

- The German government was keen to see Ruhr Gas remain German-owned, and consequently relaxed a few anti-trust requirements to allow E.On to buy Ruhr Gas.

- The French government was keen to form an energy champion by merging Electricité de France and Gaz de France, but the final play saw GdF merge with Suez.

- The Spanish government were keen form an energy champion. After unsuccessful attempts to acquire Iberdrola in 2003 and Endesa in 2006, Gas Natural managed to acquire and integrate Union Fenosa to form 1 of Europe’s 10 largest energy companies in 2009.

- The Romanian government’s plans to consolidate a fragmented oil, gas and electricity into a majority state-owned energy champion never really got much traction.

The issue facing Poland

The official line from the Polish government is that it wants to build an energy company that is strong enough to compete in a consolidating European market, and also to promote national energy security. Poland notes that its energy companies are small compared to the big European energy companies, and they also lack sufficient access to cheap capital to develop new coal, nuclear and shale gas resources beyond the €23b planned for the next 5 years.

It would appear that some relaxing of anti-trust regulations will be required, noting that a previous merger was declined by the competition authority.

The planned formation of the champion

The Polish government plans to merge the following 4 energy companies…

- Polska Grupa Energetyczna (PGE) which is a vertically integrated company that owns lignite mines, 40 power stations, 8 distribution networks, and 8 electricity retail companies. EBIT is about €930m.

- Tauron Polska Energia which owns coal mines, power stations and electricity and heat distribution networks. EBITDA is about €700m.

- ENEA which owns 920MW of generation and sells about 13,500 GWh of electricity annually. EBITDA is about €400m.

- Energa owns 533MW of generation capacity and supplies 2,900,000 electric customers. EBITDA is about €440m.

Pipes & wires will comment further as the political process progresses.

US – the continuing saga of muni’ising Boulder

Introduction

Pipes & Wires #126, #128 and #137 examined the City Of Boulder’s (Colorado) plans to purchase Xcel Energy’s distribution assets and run those assets as a Muni. This article examines recent events.

Key events to date

Key events to date include…

- In 2004 Boulder commissioned a report which concluded that the City could feasibly purchase Xcel’s distribution assets and keep tariffs comparable to Xcel’s.

- These plans were shelved in 2008 when Xcel selected Boulder for its SmartGridCity program

- The shelved plans were dusted off in 2011 when negotiations to develop a wind farm broke down.

- The City planned a vote on the issue in April 2012, with the expectation that the vote would be in favor of purchasing Xcel’s distribution business and running it as a Muni.

- Boulder then planned a vote for April 2013 which would authorise the City to form a Muni and issue bonds to fund the purchase of Xcel’s distribution assets providing that the Muni’s tariffs would be no greater than Xcel’s at the time the Muni starts.

- In August 2013 the City voted 6 to 3 in favor of forming a Muni, and additionally gave voters the opportunity to set an upper limit on key costs of $214m and gave the City the power to file a condemnation lawsuit if negotiations breakdown.

- In late October 2013 voters were asked to consider the following 2 ballot questions (the “Yes on 310” question, backed by Xcel Energy which aimed to limit the debt that the City could take on to form the Muni, and the “2E” question, backed by the City). The final election results revealed 66.5% support for “2E” but only 31.1 support for “Yes on 310”, which supporters of the Muni claim as a double victory and evidence of increased support since 2011.

- In late 2013 disputes over jurisdiction emerged amidst claims that the Colorado Public Utilities Commission (PUC) has primary jurisdiction, and unless the issues become legal rather than factual the Colorado Supreme Court does not have any obvious jurisdiction.

Recent events

In January 2015 a District Court judge ruled that the City cannot takeover Xcel’s distribution business without the PUC’s involvement because the City’s plans include taking ownership of assets that supply Xcel customers outside of the Boulder City limits and effect regional reliability. The judge wrote that…

- The PUC has the authority to regulate public utilities and the facilities which provide service within the City Of Boulder as well as unincorporated Boulder.

- The City has the right to create a municipal utility to serve its citizens. These facilities are intimately intertwined.

- Therefore it is necessary and appropriate for the PUC to determine how facilities should be assigned, divided or jointly used to protect the system’s effectiveness, reliability and safety.

The matter is rapidly becoming even more complicated, and involves lofty legal concepts such condemnation proceedings, eminent domain, Boulder’s right to home-rule, and exactly what powers the Colorado constitution grants to the PUC. So … Pipes & Wires will comment further as progress emerges.

Energy policy

Aus – a swing to the left in Queensland

Introduction

The January 2015 election in the Australian state of Queensland resulted in an unexpected swing to the left in which Queensland Labour secured 44 seats, sufficient to form a minority government. This article examines what that swing to the left might mean for state energy policy.

Likely policy shifts

It’s still early days, however some of the key elements of Labour’s emerging energy policy are examined in the following table…

| Policy element | Expected Labour policy (some of which was pre-election) |
| --- | --- |
| Solar energy | Increase the number of roof-top solar panels, as part of achieving the 90% renewable energy target by 2030. This includes setting a “fair price” and what that would cost non-solar customers, noting the possibility of paying that subsidy (which amounts to about 6% of the average household electric bill) from asset lease and privatisation funds. |
| Privatisation of state-owned electricity assets | Retain all assets marked for privatisation, and allocating 67% of the profits to a Debt Reduction Trust for paying down general government debt. The 3 network companies (Energex, Ergon and Powerlink) would be combined into 1 company, as would the 2 generators CS Energy and Stanwell. Not surprisingly, there would be no forced redundancies so it is hard to see how expected savings of $150m per year will be achieved. |
| Development of fossil energy resources. | Not clear which way this will go. On one hand the coal and gas industries provide and create a lot of jobs, but on the other hand Labour governments also place a high emphasis on reducing CO2 emissions. |

It will be interesting to see how these pre-election policies take shape as the bureaucrats shape the detail and remind their political masters of what can and can’t be done, and what prior commitments can’t be broken. It might be useful to reflect on Sir Humphry’s insightful comment that “ministers come, and ministers go, but permanent under-secretaries remain” (which a former NZ member of parliament has assured me does has a degree of truth to it).

Regulatory policy

Aus – reviewing the energy market

Introduction

On-going reviews of energy market structures are nothing new. This article examines the key features of an expert panel reviewing the governance structure of Australia’s energy market.

What has prompted the review ??

The primary prompt for the review is a commitment made in 2007 by the Council of Australian Governments (COAG) to review the energy market governance arrangements 5 years after the start of that arrangement. As the AEMO was established in 2009, a review is due. It is noted that the energy markets, regulations and technology have evolved substantially since 2009.

The terms of reference

The terms of reference inter alia require the review to…

- Consider the performance of the current energy market governance arrangements.

- Identify governance arrangements that support stated market outcomes.

- Whether the structure and roles of the AEMO, the AER and the AEMC remain appropriate

- Provide advice to the Standing Council on Energy & Resources on possible improvements to both institutions and their oversight.

Pipes & Wires will comments further once the panel presents its report in September 2015.

Global - the impact of technology as a competitive enabler

Introduction

Technology has enabled competition within many segments of the legacy telecommunications supply chain, and has reduced the need for regulation of the traditional monopolies. This video clip examines how emerging electrical technologies could do the same for the electricity industry.

The video clip

Professor Ingo Vogelsang from Boston University was recently invited to New Zealand by the Electricity Authority and the Commerce Commission to share his thoughts on how emerging technologies might shape and re-shape the electricity supply chain as we know it. He does express the reservation that the intermittent nature of many common forms of embedded generation may limit their direct substitutability from local distribution networks, however the rapid advances and falling costs of battery storage even over the last few months have made it clear that solar plus battery overcomes the intermittent problem, and is therefore likely to be a very real competitor for the local distribution network.

The video clip is 55 minutes long and is thoroughly worth watching, along with a few pauses for reflection.

Recent client projects

Here’s a sample of work done for clients over the last few years that demonstrate the breadth of skills, insight and experience that is available from Utility Consultants....

- Advising a major global investment bank on the revenue and capital cost characteristics of the New Zealand generation industry.

- Assessing the investment characteristics of proposed CapEx increases to an investor-owned electric network.

- Assessing three EDB’s asset management practices against ISO 55000:2014.

- Assessing an EDB’s compliance with the lines – generation separation requirements of the Electricity Industry Act 2010.

- Assessing an EDB’s compliance with the Electricity Industry Participation Code.

- Compiling safe operating procedures for a wide range of distribution switches.

- Advising an investor on the investment characteristics and regulatory constraints of small hydro development and grid connection.

- Reviewing the engineering aspects of an EDB’s lines pricing methodology.

- Advising a major global consultancy on specific features of emerging electricity transmission and distribution regulatory regimes, including period length, potential for re-opening determinations, caps & collars, total expenditure levels and incentive mechanisms.

- Examining the economic efficiencies of an EDB’s pricing methodologies.

- Advised on the wider philosophical and potential tax issues of the way consumer discounts are paid by EDB’s.

- Prepared an independent engineer’s report to justify proposed alternative asset lives.

- Advised an electricity business on the regulatory implications of bringing externally contracted field services back in-house.

- Identified economic and regulatory arguments to support inclusion of transmission interconnection charge risk into network tariffs.

- Advised lines businesses on a regulator’s proposed treatment of CapEx and OpEx.

- Advised an international investor on gas distribution policy and regulatory trends.

- Identified national energy policy implications for lines businesses.

- Assisted a lines business to identify the burden of proof implied by regulatory determinations.

- Suggested amendments to a gas transmission AMP to strengthen the economic arguments.

- Identified electricity network investment characteristics as part of an acquisition study.

- Developed an AM framework for a gas distribution business to link AM to regulatory requirements.

- Identified OpEx – CapEx tradeoffs for an electricity lines business.

- Performed various substation growth and reinforcement assessments.

- Performed network physical and business risk studies.

- Compiled disaster recovery and business continuity plans.

Pick here to download a profile of recent projects, or here to contact Phil.

General stuff

Guide to NZ electricity laws

I’ve compiled a “wall chart” setting out the relationship between various past and present electricity Acts, Regulations, Codes etc in sort of a chronological progression. To request your free copy, pick here. It looks really cool printed in color as an A2 or A1 size.

A bit of light-hearted humor

What if price control had been around in the 1920’s and 1930’s ? A collection of photo’s with humorous captions looks at some of the salient features of price control. Pick here to download.

Conferences & training courses

The following conferences and training courses are planned...

- Fundamentals of the NZ electricity industry, Auckland, 20th – 21st April 2015.

Utility Consultants takes no responsibility for the content of individual courses or conferences, nor for any administrative or travel arrangements.

Wanted – old electricity history books

If anyone has an old copy of the following books (or any similar books) they no longer want I’d be happy to give them a good home…

- Economic Operation Of Power Systems (Kirchmayer).

- Distribution Of Electricity (WT Henley, the cable manufacturer)

- Northwards March The Pylons.

- Two Per Mile.

- Live Lines (the old ESAA journal).

- The Engineering History Of Electric Supply In New Zealand.

House-keeping stuff

Opt out from Pipes & Wires

Pick this link to opt out from Pipes & Wires. Please ensure that you send from the email address we send Pipes & Wires to.

Disclaimer

These articles are of a general nature and are not intended as specific legal, consulting or investment advice, and are correct at the time of writing. In particular Pipes & Wires may make forward looking or speculative statements, projections or estimates of such matters as industry structural changes, merger outcomes or regulatory determinations. These articles also summarise lengthy documents, and it is important that readers refer to those documents in forming opinions or taking action.

Utility Consultants Ltd accepts no liability for action or inaction based on the contents of Pipes & Wires including any loss, damage or exposure to offensive material from linking to any websites contained herein, or from any republishing by a third-party whether authorised or not, nor from any comments posted on Linked In, Face Book or similar by other parties.