# Pipes & Wires

## INSIGHT AND ANALYSIS OF TOPICAL ENERGY & INFRASTRUCTURE ISSUES

## Issue 142 – April 2015

From the editor’s desk…

Welcome to Pipes & Wires #142. This month we cover a couple of regulatory decisions in New Zealand and in the UK, and then take a short historical interlude which marks the start of another series of articles about people in power. We then update the Exelon-Pepco merger in the US, and examine some solar trends in the US and in Germany. This issue then concludes with some regulatory and competition policy issues in Australia and New Zealand.

Matters for attention in NZ

Readers’ attention is drawn to the following matters…

- Changes to operating procedures for Long & Crawford Manchester (later rebadged as GEC-Alsthom) oil-insulated combined fuse switches after an explosion in Perth, Australia.

- Changes to the requirements for connecting embedded generation to distribution.

- Increasing interest in ISO 55000:2014 in regard to asset management practices and systems, and the associated withdrawal of BSI PAS 55:2008.

- Revised standard NZS 7901:2014 for Safety Management Systems.

- Increased obligations for worker safety.

- The Electricity Authority’s intention to “improve distribution efficiency”.

- Increasing interest in ISO 37120:2014 in regard to sustainable community development.

Cool stuff

Good use for hydro

This is a great plug for renewable energy … a hydro power rotisserie. Guess a few readers will be spending the weekend in their sheds building one !!!

Newly published book – “Keeping The Lights On”

Well-known electricity historian and author Helen Reilly has recently published her latest book “Keeping The Lights On – The History Of System Operations In New Zealand 1939 – 2013”. Pick here to order your copy for only $46.50 from Grid Heritage. It’s a thoroughly good read, and complements Helen’s previous book “Connecting The Country”.

Regulatory decisions

NZ – amending the pipes & wires information disclosure requirements

Introduction

This short article notes the Commerce Commission’s recent amendments to the respective determinations. There are a wide range of additions, amendments and deletions, so interested users should refer to the respective Amendments (links below) for the marked-up versions.

Regulatory frameworks

Electricity distribution, gas distribution and gas transmission services are subject to information disclosure pursuant to s54F and s55C of Part 4 of the Commerce Act 1986.

Electricity distribution

The Electricity Distribution Information Disclosure Determination 2012 (consolidated in 2015) has now been consolidated to include the 2015 Amendments.

Gas distribution

The Gas Distribution Information Disclosure Determination 2012 (consolidated in 2015) has now been consolidated to include the 2015 Amendments.

Gas transmission

The Gas Transmission Information Disclosure Determination 2012 (consolidated in 2015) has now been consolidated to include the 2015 Amendments.

UK – reporting back on the first year of RIIO-T1

Introduction

Electricity and gas transmission has been subject to the RIIO-T1 revenue control since 1st April 2013. This article examines the recent Ofgem report on RIIO-T1’s first year.

The RIIO-T1 price control

RIIO-T1 (and the associated RIIO-ED1 and RIIO-GD1) represented a significant shift in the way Ofgem regulated pipes & wires in the UK, from a prescriptive model to a model based more on incentivising performance derived from customer consultation. RIIO-T1 began on 1st April 2013, and will run for an 8 year period until 31st March 2021.

Key features of the report

Key features of the report include…

- The cost of electricity transmission services increased from £21.78 to £22.59 per (average) customer.

- The cost of gas transmission services decreased from £16.63 to £13.68 per (average) customer.

- Performance in regard to energy not supplied has exceeded target for all transmission operators.

- All transmission operators have exceeded their customer satisfaction targets.

- All transmission operators have underspend their TotEx allowances, however this mainly due to a reduced volume of new connections. Hence the allowances will be scaled back to reflect lower volumes.

- All transmission operators expect to exceed the expected ROI set out in the RIIO-T1 Final Proposals.

- Regulatory reporting by National Grid (both electricity and gas) was not up to Ofgem’s expectations and had to be re-submitted.

NZ – gas under pressure

Introduction

The Commerce Commission recently released its cost of capital determination for any CPP proposed by Powerco for its gas distribution services for the 2015/16 year. This article examines the key features of that determination.

Regulatory framework

The regulatory framework for setting the gas distribution WACC’s is set out in Subpart 3 of Part 5 of the Gas Distribution Services Input Methodologies Determination 2012.

Key features of the Determination

The key feature of the Determination is the mid-point and 67th percentile WACC’s…

| Vanilla WACC period | Mid-point | 67th percentile |
| --- | --- | --- |
| 3 years | 6.72% | 7.25% |
| 4 years | 6.70% | 7.23% |
| 5 years | 6.72% | 7.25% |

Previous WACC decisions

Some of the Commissions’ previous WACC decisions are as follows.

| WACC decision applies to | Approx date | Mid-point WACC | 75th (or 67th) percentile WACC |
| --- | --- | --- | --- |
| Powerco gas CPP application before April 2016. | March 2015 | Vanilla 6.70% to 6.72% | Vanilla 7.23% to 7.25% |
| Maui Developments for 2016 disclosure year | January 2015 | Vanilla 7.08% | Vanilla 7.89% |
| Vector, GasNet CPP application before December 2015. | December 2014 | Vanilla 7.11%, 7.14%, 7.22% |  |
| All electricity CPP applications after 30th September 2014. | September 2014 | Vanilla 6.58%, 6.64%, 6.72% |  |
| Auckland, Christchurch Airports for 2015 disclosure year. | July 2014 | Vanilla 7.64% | Vanilla 8.63% |
| Vector, GasNet for 2015 disclosure year. | July 2014 | Vanilla 7.54% | Vanilla 8.35% |
| Transpower for 2015 disclosure year. | July 2014 | Vanilla 6.83% | Vanilla 7.55% |
| Wellington Airport for 2015 disclosure year. | April 2014 | Vanilla 7.70% |  |
| EDB’s for 2015 disclosure year. | April 2014 | Vanilla 6.89% |  |
| Powerco gas CPP applications before March 2015. | March 2014 | Vanilla 5-year 7.54% | Vanilla 5-year 8.35% |
| Maui pipeline (gas transmission). | January 2014 | Vanilla 7.64%, post-tax 6.85% |  |
| Vector, GasNet CPP applications before December 2014. | December 2013 | Vanilla 7.56% |  |
| All CPP applications before 30th September 2014 | September 2013 | Vanilla from 6.26% to 6.69% | Vanilla from 6.97% to 7.41% |
| Transpower | July 2013 |  | Vanilla 6.85% , post-tax 6.17% |
| Vector gas distribution, GasNet | July 2013 |  | Vanilla 7.65%, post-tax 6.97% |
| Auckland & Christchurch airports | July 2013 |  | Vanilla 8.00%, post-tax 7.75% |
| All electricity distribution | April 2013 |  | Vanilla 6.83%, post-tax 6.14% |
| Maui pipeline (gas transmission) | February 2013 |  | Vanilla 7.46%, post-tax 6.80% |
| All gas distribution and gas transmission DPP’s | December 2012 |  | Vanilla 6.63% |
| Vector, GasNet CPP’s | December 2012 | Vanilla 6.39% (5 years) |  |
| Powerco gas distribution | October 2012 | Vanilla 6.83%, post-tax 6.12% |  |

People in power

This series of historical interest articles follows on from a similar series a few years ago, and examines the lives and achievements of electrical pioneers that were born in the last few decades of the 1800’s.

Fred Wheadon wires up the city of Adelaide

Birth, early years & education

Fred Wheadon was born in Ilminster, England in 1872. A broad-based education in civil, mechanical and electrical engineering and in surveying at various colleges around London was followed by a few jobs in municipal electricity supply with the Bath Electric Supply Company and then as engineer-in-charge for the City of London Electric Lighting Company’s Bankside Power Station. In 1897 Fred went to work for renowned boiler makers Babcock & Wilcox where he oversaw the erection of one of the first superheater boilers in Spain.

The move to South Australia

Soon after returning from Spain, a telegram arrived offering young Fred a 3 year contract as chief engineer to the Adelaide Electric Supply Company (AESCO). Fred accepted the offer on 4th April 1899 and arrived at Largs Bay near Adelaide on 31st July 1899. History records that AESCO’s company secretary was somewhat taken aback by Fred’s youth and reported to the Board that “they have sent me a mere boy”.

Achievements at AdESCO

Fred quickly proved to be a diligent operator who promptly found favor with the Mayor by improving the reliability of the city’s electric supply. The remaining 46 years of Fred’s career at AESCO saw the consolidation of coal-fired generation including various ideological battles between public and private power and various running disputes with the government over the development and use of Leigh Creek coal, which culminated in the Electricity Trust of South Australia Act 1946 which nationalised AESCO into ETSA.

Retirement & later years

Fred retired from AESCO at the end of 1946 at the age of 74, just after AESCO was nationalized. Sadly, no records of Fred’s life after AESCO could be found.

Mergers & acquisitions

US - New Jersey regulators approve Exelon-Pepco merger

Introduction

Previous issues of Pipes & Wires have examined Exelon’s proposed acquisition of Pepco. This issue notes the New Jersey Board Of Public Utilities approval.

Key features of Exelon’s offer

Exelon has made a $6.8b all-cash offer of $27.25 per Pepco share, which represented a 24.7% premium to Pepco’s closing price on the announcement day.

Key features of the New Jersey Board of Public Utilities approval

Key features of this approval include…

- Achieving a settlement between Exelon, Pepco, the Board and the Independent Energy Producers of New Jersey that included provisions for $15m of efficiency gains for customers of Atlantic City Electric.

- Establishing a fund of $62m to provide rebates to Atlantic City Electric customers.

Status of the required approvals

The status of the regulatory approvals is…

| Regulator | Current status of approval |
| --- | --- |
| Federal Energy Regulatory Commission. | Approved 20th November 2014. |
| District of Columbia Public Service Commission. | Application filed on 18th June 2014. |
| Delaware Public Service Commission. | Application filed on 18th June 2014. As of 8th April 2015, the proposed benefits to Delaware customers are being increased to include a greater up-front bill credit and a commitment to improve supply reliability. |
| Maryland Public Service Commission. | Application filed on 19th August 2014, approval may take up to 15 months. As of 18th March 2015, settlement was achieved in 2 counties to increase customer benefits including bill credits, funding energy-efficiency programs and assisting low-income customers. |
| New Jersey Board of Public Utilities. | Approved on 11th February 2015. |
| Virginia State Corporation Commission. | Approved 8th October 2014. |

Pipes & Wires will comment further as the last 3 approvals emerge.

Asset strategy & management

Withdrawal of asset management standard PAS 55:2008

Readers should note that the asset management standard PAS 55:2008 was withdrawn on 1st February 2015, and effectively superseded by ISO 55000. That doesn’t mean that all the hard work of achieving PAS 55 certification is now worthless, but rather that the internationally consistent ISO 55000 is now the preferred standard. To discuss how your company can move towards ISO 55000 certification, pick here.

Solar, electric cars & nett metering

US – Georgetown goes solar

Introduction

News recently emerged that SunEdison will install 150MW of solar panels next year to supply the city of Georegetown, Texas (a city of 47,000 people on I-35 between Austin and Waco), which along with wind will make it pretty much 100% renewable. This article examines the technical and commercial features of the proposal.

The current electric supply arrangements

Georgetown’s electricity is supplied by its own muni, Georgetown Utility Systems. GUS is governed by a Board appointed by the Georgetown City Council, and is managed by the Assistant City Manager (Utility Operations). GUS buys its electricity through a mixture of short and long-term wholesale power contracts, and distributes that electricity to about 20,000 customers within a 42 square mile service territory.

GUS has recognised that solar is likely to provide cheaper electricity going forward (as well as hedging against the regulatory risk around coal-fired generation), and emphasises that it has made the decision based on price and not for environmental reasons.

The scale of the installation

The installed capacity of the solar panels will be 150MW, and it is expected to generate about 9,500GWh per year for 25 years (that seems like a capacity factor of 723%, so maybe the figures quoted in the media are incorrect). SunEdison’s technology portfolio also includes battery storage, as well as a recently acquired wind turbine business.

The business model

The panels will be supplied, installed and initially owned by SunEdison. When completed, SunEdison will offer to sell it to its associate company TerraForm Power.

Is this the way of the future ??

It really does seem to be that way ... capital costs are falling, primary energy cost is zero, operating costs are minimal, security of supply is improving, they don’t make any noise, and visual intrusion is minimal especially if they are mounted on large flat roofs.

The challenge is now for grid-connected solar to beat the cost of customer-owned solar.

Germany – responding to the solar “drought”

Introduction

Most of us … especially New Zealander’s … are familiar with the effect of droughts on hydro-dominated generation systems. This article examines the recent solar eclipse and its effect on Germany’s solar electricity by thinking of it as a “drought”.

Germany’s solar electricity

Germany’s approximate solar generation for 2014 was as follows…

|  | Solar | Total |
| --- | --- | --- |
| Installed capacity (MW) | 36,000 (21%) | 172,000 |
| Annual generation (GWh) | 32,800 (6.2%) | 529,000 |

The low overall annual GWh might be surprising given the popular media’s fondness for quoting isolated periods during which solar provided 40% or even 50% of Germany’s total power demand.

The eclipse and Germany’s response

Friday 20th March 2015 was a bright sunny day in Germany … perfect for seeing the eclipse, and also perfect for stress testing an electric grid with a high solar penetration. The Erneuerbare Energien Gesetz (Renewable Energy Sources Act) prioritises the “dispatch” of renewable generation, so it’s reasonable to assume that pretty much all solar panels were actually supplying the grid. Careful planning by the 4 grid operators (50 Hertz, TenneT, Amprion and EnBW Transportnetze) enabled the “drought” to be filled by gas turbines and pumped storage which were then ramped down as the eclipse ended. The almost insignificant 500MW of wind generation that morning reportedly made the balancing task much easier.

Who pays for the response ??

Responding to the solar “drought” obviously required dispatchable generation to be available, so we need to ask the very pointed question of “who paid for that”. Readers might recall that Pipes & Wires #119 examined the issue of how stand-by generation might be paid for buffering wind generation … there seemed to be this vague, unstated expectation that stand-by generation such as Knapsack would be available to buffer wind, but would only be paid for the MWh it actually generated. Knapsack’s owner, Statkraft, called for standing capacity payments of €1,500 per kW per year to maintain such plant (and good on them). So at this stage it’s not clear whether all the dispatchable generation will actually get paid for anything more than the MWh they actually generated.

US – facilitating third-party ownership of rooftop solar

Introduction

Although the cost and hence price of solar panels is falling, they still seem to be a bit beyond the reach of most domestic electric customers. This article examines recent legislation in the US state of Georgia that will facilitate third-part ownership of rooftop solar.

The issues around solar ownership

The key issue is simply the up-front cost (price) of the panels. The most common funding model to emerge was a feed-in tariff (FIT) set at greater than 1 which was effectively a time-payment subsidy for customers with rooftop solar owners (and paid by customers without rooftop solar).

Now that FIT’s are being ramped down for various reasons, potential rooftop solar owners have to pay the full price for the panels and associated kit. This has opened the way for third-party ownership (TPO) of rooftop solar in which a party other than the building owner or the electric company own the panels … TPO’s might include installers or investors. Some commentators reckon that the ever-declining price of solar panels will actually make TPO redundant.

The Georgia legislation

House Bill #57 proposes to amend Article 1, Chapter 3, Title 46 of the Official Code of Georgia Annotated to provide for third-party financing and ownership of rooftop solar. Progress through the corridors of power is as follows…

- Three readings in the House during January 2015, followed by House adoption on 9th February 2015.

- Introduced into the Senate on 10th February 2015.

- Three readings in the Senate during March 2015, followed by Senate adoption on 27th March 2015.

- At the time of writing, HB57 is now awaiting the Governor’s approval.

The role of Big Electric in all this

Big Electric has agreed to support HB57 in exchange for including provisions to…

- Limiting the capacity of domestic solar panels to 10kW.

- Limiting commercial solar panels from generating more than 125% of their own energy consumption.

The editor comments

Advocates of rooftop solar claim that Big Electric simply wants to prevent rooftop solar. A more balanced view might be that Big Electric simply insists that all connected customers pay the true long-run economic cost of connection without subsidy. This strikes right to the heart of the regulatory compact … electric companies upside gains are limited in return for limiting the downside losses through what was understood to be a predictable recovery of costs over the long-term. Rooftop solar is almost certain to significantly skew the business model towards downside losses, however corresponding moves to relieve the limits on upside gains seem to be slow in coming.

Regulatory & competition policy

Aus – ramping up retail competition in Western Australia

Introduction

As part of Western Australia’s on-going energy reforms, Energy Minister Dr Mike Nahan recently announced that competition would be introduced to the domestic and small commercial retail electricity market segments. This article examines that announcement and considers the likely outcomes.

Specific plans for retail electricity competition

It appears that full retail contestability will be introduced over a 4 year period, during which time the incumbent state-owned retailer Synergy will also lose all its subsidies which are forecast to cost the government about $500m for the 2014/15 year. It is expected that Synergy will be to also retail gas, in competition with existing gas retailers (who in turn are expected to begin retailing electricity).

Views on structural reform and asset sales

Nahan has indicated that introducing further competition will be the focus, rather than structural changes to the existing state-owned electricity supply chain, or sale of assets. This is almost certainly a recognition that asset sales in particular are politically difficult.

Expected results

Understandably, new entrants are welcoming the announcement with 1 established commercial retailer already claiming that it could shave 5% to 10% off of residential electric bills. Experience in other states suggests this is certainly possible.

NZ – managing extended reserves

Introduction

Being able to shed a specified amount of (electrical) load during a major grid frequency excursion is a fundamental aspect of a secure transmission grid operation. This article examines recent changes to the way that this load shedding will be managed.

The legacy load shedding mechanisms

The New Zealand electricity grid broadly has 3 load shedding mechanisms…

- Ripple control, which injected an audio-frequency tone into the distribution network to control tuned relays for switching specific loads such as hot water cylinders and streetlights. The legacy ripple injection plants usually take a few minutes to operate, so they aren’t of any use in a sudden frequency excursion (more modern devices that often also embody smart meters could be switched off within seconds).

- Interruptible load that is offered into both the Fast Instantaneous Reserve (FIR) and the Sustained Instantaneous Reserve (SIR) markets.

- Relays at substations that trip circuits corresponding to specific percentages of connected load at specific frequencies, known as automatic under-frequency load shedding (AUFLS). The 1st block of AUFLS will trip 16% of load at 47.8Hz, and the 2nd block of AUFLS will trip a further 16% at either 47.5Hz or if the grid frequency stays below 47.8Hz for more than 15s. AUFLS will operate within a few hundred milliseconds in response to a detected frequency drop. These requirements are set out in Schedule 8.3 of the Electricity Industry Participation Code.

The concerns

In 2012 the Electricity Authority commenced a stream of work on the belief that procuring extended reserve could be done more efficiently than the current AUFLS arrangement, and proposed a more market-based approach rather than the current obligations on participants. One of the specific concerns was the difficulty of arming load to 2 blocks of 16% whilst ensuring that critical loads like hospitals and sewage pumping stations were not tripped and that loads with a relatively high interruption cost weren’t included.

The proposal

The Authority’s preferred approach was to have an optimised process for selecting load for extended reserves and having an extended reserves manager (ERM) run the selection process.

Appointing the Extended Reserves Manager

By early 2015 the Electricity Authority’s work had progressed to the point of selecting the NZ Stock Exchange (NZX) as the preferred supplier for the role of extended reserves manager. Pipes & Wires will comment further as the ERM announces its preferred loads.

Aus – transferring regulation of Western Power to the AER

Introduction

In conjunction with announcing the introduction of domestic and small commercial retail electricity competition, Energy Minister Dr Mike Nahan also announced that jurisdiction for regulating Western Power’s transmission and distribution networks would be transferred from the (WA) Economic Regulatory Authority to the Australian Energy Regulatory (AER). Long-time readers might recall that a similar transfer occurred in Victoria on 1st January 2009.

The current regulatory arrangement

Western Power’s 2 wires businesses are subject to revenue control in a similar manner to most other revenue controls. Key legislation includes…

- The ERAWA was established by the Economic Regulation Authority Act 2003, which inter alia establishes an economic regulator (Part 2) and defines its functions (Part 4).

- The Electricity Corporations Act 2005 which inter alia provides for the establishment of the various supply chain entities as bodies corporate with perpetual succession.

The proposed regulatory arrangement

It is proposed to transfer jurisdiction of the 2 Western Power wires businesses from the ERAWA to the AER, so that those 2 businesses will be treated on a national basis the same as the wires businesses in the eastern states. This will require an amendment to the Economic Regulation Authority Act 2003 to transfer jurisdictional authority.

What might the advantages be ??

At face value, bringing all Australian wires businesses under a common regulator that has a nationally consistent approach would appear to be a good idea. Perhaps a more compelling argument would be the removal of important regulatory and economic decisions from a state-based agency that could be influenced by its political masters.

Recent client projects

Here’s a sample of work done for clients over the last few years that demonstrate the breadth of skills, insight and experience that is available from Utility Consultants....

- Advising a major global investment bank on the revenue and capital cost characteristics of the New Zealand generation industry.

- Assessing the investment characteristics of proposed CapEx increases to an investor-owned electric network.

- Assessing three EDB’s asset management practices against ISO 55000:2014.

- Assessing an EDB’s compliance with the lines – generation separation requirements of the Electricity Industry Act 2010.

- Assessing an EDB’s compliance with the Electricity Industry Participation Code.

- Compiling safe operating procedures for a wide range of distribution switches.

- Advising an investor on the investment characteristics and regulatory constraints of small hydro development and grid connection.

- Reviewing the engineering aspects of an EDB’s lines pricing methodology.

- Advising a major global consultancy on specific features of emerging electricity transmission and distribution regulatory regimes, including period length, potential for re-opening determinations, caps & collars, total expenditure levels and incentive mechanisms.

- Examining the economic efficiencies of an EDB’s pricing methodologies.

- Advised on the wider philosophical and potential tax issues of the way consumer discounts are paid by EDB’s.

- Prepared an independent engineer’s report to justify proposed alternative asset lives.

- Advised an electricity business on the regulatory implications of bringing externally contracted field services back in-house.

- Identified economic and regulatory arguments to support inclusion of transmission interconnection charge risk into network tariffs.

- Advised lines businesses on a regulator’s proposed treatment of CapEx and OpEx.

- Advised an international investor on gas distribution policy and regulatory trends.

- Identified national energy policy implications for lines businesses.

- Assisted a lines business to identify the burden of proof implied by regulatory determinations.

- Suggested amendments to a gas transmission AMP to strengthen the economic arguments.

- Identified electricity network investment characteristics as part of an acquisition study.

- Developed an AM framework for a gas distribution business to link AM to regulatory requirements.

- Identified OpEx – CapEx tradeoffs for an electricity lines business.

- Performed various substation growth and reinforcement assessments.

- Performed network physical and business risk studies.

- Compiled disaster recovery and business continuity plans.

Pick here to download a profile of recent projects, or here to contact Phil.

General stuff

Guide to NZ electricity laws

I’ve compiled a “wall chart” setting out the relationship between various past and present electricity Acts, Regulations, Codes etc in sort of a chronological progression. To request your free copy, pick here. It looks really cool printed in color as an A2 or A1 size.

A bit of light-hearted humor

What if price control had been around in the 1920’s and 1930’s ? A collection of photo’s with humorous captions looks at some of the salient features of price control. Pick here to download.

Conferences & training courses

The following conferences and training courses are planned...

- Fundamentals of the NZ electricity industry, 7th – 8th September 2015, Wellington.

- Fundamentals of the NZ electricity industry, 19th – 20th October 2015, Auckland.

Utility Consultants takes no responsibility for the content of individual courses or conferences, nor for any administrative or travel arrangements.

Wanted – old electricity history books

If anyone has an old copy of the following books (or any similar books) they no longer want I’d be happy to give them a good home…

- Economic Operation Of Power Systems (Kirchmayer).

- Distribution Of Electricity (WT Henley, the cable manufacturer)

- Northwards March The Pylons.

- Two Per Mile.

- Live Lines (the old ESAA journal).

- The Engineering History Of Electric Supply In New Zealand.

House-keeping stuff

Opt out from Pipes & Wires

Pick this link to opt out from Pipes & Wires. Please ensure that you send from the email address we send Pipes & Wires to.

Disclaimer

These articles are of a general nature and are not intended as specific legal, consulting or investment advice, and are correct at the time of writing. In particular Pipes & Wires may make forward looking or speculative statements, projections or estimates of such matters as industry structural changes, merger outcomes or regulatory determinations. These articles also summarise lengthy documents, and it is important that readers refer to those documents in forming opinions or taking action.

Utility Consultants Ltd accepts no liability for action or inaction based on the contents of Pipes & Wires including any loss, damage or exposure to offensive material from linking to any websites contained herein, or from any republishing by a third-party whether authorised or not, nor from any comments posted on Linked In, Face Book or similar by other parties.