Pipes & Wires

## Though leadership of critical energy & infrastructure matters

## Issue 200 – September 2020

From the editor’s desk…

Welcome to Pipes & Wires #200 … yes … 200 editions, which at a guess is about 1,500 short articles. This edition starts with a look at regulating rooftop solar in Australia and EV charging in the US, and then examines regulatory decisions in NZ and the UK.

We then look at some assets sales in the US and the UK, and then take a preliminary look at the California black-outs. This edition concludes with a look at the technical features of a really big DC cable in Germany. So … until next month, happy reading…

Reflecting back on Pipes & Wires #1

Pipes & Wires #1 was published in March 2001, from an upstairs bedroom in Palmerston North, New Zealand, and reached about 55 readers as a printed newsletter. The articles included…

- US – what’s really happening in California (ironic that PW #200 is looking at California again).

- UK – the consequences of excessive regulation.

- UK – ring-fencing the distribution businesses.

- NZ – possible merger of water activities.

- Aus – ring-fencing the distribution businesses.

- NZ – disclosing gas asset management plans

- Current comment – contrasting how some states in the US required generators to divest their supply businesses with the forward integration of NZ generators into supply.

Subscribe to Pipes & Wires

If you’re receiving this second-hand, pick this link to subscribe.

Recent client projects

Recent client projects include…

- Estimating the costs of DERMS (distributed energy resource management system) penetration for distribution feeders for a large US electric company.

- Identifying leading practices in behind-the-meter activities (eg. batteries, solar, smart data, VPP’s etc) for a large US electric company.

- Identifying key learnings from the transformation of a Dutch electric, gas and heat company for a large US electric company.

- Identifying best Australian practices in EV charging for a large US electric company.

- Identifying key features of demand management in the Australian NEM for a large US electric company.

- Compiling a pricing model to reflect asset investment levels to transmission grid exit level rather than averaged over the entire network.

- Identifying best practices in grid-scale and community-scale batteries for an Australian distributor.

- Identifying best practices in EV charging on behalf of an Australian distributor.

- Recommending amendments to a security of supply standard to better reflect demand density.

- Identifying best customer engagement practices on behalf of an Australian distributor.

- Development of an asset management journey aligned to ISO 55001.

- Identifying learnings from the RIIO – ED1 reset on behalf of an Australian distributor.

- Developing a smart metering strategy.

- Advising on likely available electrical contractors.

- Undertaking a customer survey to identify customer preferences for off-peak EV recharging.

- Developing a strategy for complying with the related party transaction provisions.

- Advising on the regulatory implications of an aging timber transmission pole fleet.

- Compiling some introductory thoughts on digital transformation and blockchain.

- Facilitating a series of client workshops to better understand asset information criticality and in-service failure risk.

- Assessing the strength of asset management practices.

- Reviewing recent AER decisions to understand the expectations around asset management practices and methods.

- Reviewing the AER’s recent treatment of network transformation expenditure.

- Compiling overhead conductor and wooden cross-arm fleet strategies.

- Identifying the issues around customer-owned lines on private land.

- Developing a risk-based tree trimming strategy.

- Developing an EV charging strategy.

- Analysing transmission charges as a percentage of total electric bills.

- Compiling a strategy for improving the resilience of a sub-transmission network.

- Developing a best-practice guideline for smart metering.

Cool multimedia stuff

CEGB Midland Region website

Any readers who worked for the CEGB in the 1960’s might be interested in the CEGB Midland Region website.

Asset management and asset strategy podcasts

My colleagues at the UMS Group have put together a series of podcasts on asset management and asset strategy, including an interview with me on how to make asset management happen in small companies. This has also been republished as a short narrative.

Regulating emerging technologies

Aus – charging customers to inject solar ?

Introduction

Two key trends that have emerged from the increasing penetration of rooftop solar are…

- Increasing the fixed monthly tariff that rooftop solar customers pay so they contribute more fairly to the fixed costs of the distribution network (the declining kWh argument).

- Ramping down the feed-in tariffs (as the appetite for subsidising solar customers seems to be declining, and electric companies are calculating the true value of injected solar energy).

This article examines recent moves in Australia to charge rooftop solar customers for injecting into the distribution network.

Recent moves in Australia

Most of us are familiar with the argument that reduced nett kWh consumption by rooftop solar customers reduces their contribution to the high fixed costs of owning and operating the distribution network, and shifts some of those costs on to non-solar customers. This shifting of costs has been a major concern to social service agencies, so it is not really surprising that the St Vincent de Paul Society of Victoria and the Australian Council of Social Services with the backing of SA Power Networks has proposed a change to the National Electricity Rules that would allow distributors to charge rooftop solar customers for injecting.

The regulatory framework

Initial comments from the submitters suggests that whilst the all-important definition of direct control services clearly contemplates the consumption of electricity by customers and the conveyance of electricity to customers, it is not clear that this definition was intended to also apply to injection of electricity from customers. This in turn makes the application of the pricing principles in Chapter 6.18.5 of the National Electricity Rules unclear in regard to whether specific tariffs applying only to injection can be compiled.

Initial comments

Initial comments from SA Power Networks suggest the proposed rule change would allow an increase of a rooftop solar customers annual bill by between $10 and $30, but that SA Power Networks’ allowable annual revenue would not increase. Not surprisingly, rooftops solar customers and the solar lobby are unhappy with this proposal, and are warning of chaos and confusion.

The wider issue of grid stability

Increasing penetration of solar (thought to be about 1,500MW of capacity, and about 12% of South Australia’s generation last year) seems likely to cause the following problems…

- Over-voltage on LV feeders, for which SA Power Networks is planning a further 100 voltage monitoring sites for the 2021 year.

- Sudden loss of generation if the attached inverter can’t ride through faults.

- Squeezing rotating plant out of the market as the issue becomes minimum demand rather than maximum demand, leading to a loss of frequency keeping capability and system inertia.

This represents a major frontier for DER’s, hence Pipes & Wires will comment further as this rule change in particular and the AEMO’s wider work in general progresses.

US – recovering the cost of EV charging infrastructure

Introduction

Xcel Energy recently announced its plan to provide charging infrastructure for 1,500,000 EV’s by 2030 (a 30x increase from current numbers). This article looks for any early clues as to…

- How the cost will be recovered, including from which classes of customers.

- How individual regulators are likely to treat those cost recovery plans.

Xcel’s plan in brief

Key features of Xcel’s plans include…

- Providing charging infrastructure for 1,500,000 EV’s through Xcel’s service territory (Minnesota, Michigan, Wisconsin, North Dakota, South Dakota, Colorado, Texas and New Mexico).

- Saving its electric customers over $1b in gasoline every year by 2020.

- Providing low, off-peak charging tariffs that are equivalent to no more than $1 per gallon of gas.

Early indications of cost recovery

Early indications of cost recovery include…

- Minnesota – unlimited off-peak charging for a flat monthly fee.

- Colorado – incentives to charge when the grid is not congested (based on a time-of-use tariff).

Both of these tariffs are well aligned to the core theme of encouraging off-peak charging.

Possible regulatory treatment

It’s not clear that any firm regulatory views have emerged, other than some previous recommendations from the Michigan Public Service Commission that the capital cost of EV chargers (and presumably the associated infrastructure) should be excluded from the rate base, and that residential EV chargers should be treated as regulated assets.

Network regulatory decisions

NZ – setting the WACC for electricity and airports

Introduction

The Commerce Commission recently released its cost of capital decisions for the disclosure year commencing on 1st July 2020 for Transpower, GasNet, Vector’s gas pipeline business, Auckland Airport, and Christchurch Airport. This article examines the key features of those decisions.

Regulatory frameworks

The regulatory frameworks are set out in…

- Clauses 2.4.1 to 2.4.9 of the Transpower Input Methodologies Determination 2010 (consolidated to 29th January 2020).

- Clauses 2.4.1 to 2.4.9 of the Gas Distribution Services Input Methodologies Determination 2012 (consolidated to 3rd April 2018).

- Clauses 5.1 to 5.7 of the Commerce Act (Specified Airports Services Input Methodologies) Determination 2010.

Key features of WACC’s

Key features of the WACC’s include…

|  |  | 25th percentile | Mid-point | 67th percentile | 75th percentile |
| --- | --- | --- | --- | --- | --- |
| Transpower | Vanilla WACC | 2.87% | 3.55% | 3.99% | 4.23% |
|  | Post-tax WACC | 2.61% | 3.29% | 3.73% | 3.97% |
| GasNet, Vector gas | Vanilla WACC | 3.20% | 3.90% | 4.37% | 4.61% |
|  | Post-tax WACC | 2.94% | 3.65% | 4.11% | 4.35% |
| Auckland, Christchurch Airports | Vanilla WACC |  | 4.81% |  |  |
|  | Post-tax WACC |  | 4.71% |  |  |

UK – the draft RIIO – 2 decisions

Introduction

Ofgem’s RIIO – 1 price controls for electricity and gas are coming to an end. This article examines the key features of Ofgem’s draft RIIO – 2 decisions for gas distribution, gas transmission and electricity transmission.

Background

Pipes & Wires has examined progress on the RIIO – 2 price controls as follows…

- Pipes & Wires #191 examined progress on the RIIO – GD2 price controls that will apply to the UK’s 4 gas distribution companies for the 5 year control period starting on 1st April 2021.

- Pipes & Wires #192 and #196 examined the early stages of the RIIO – ED2 price controls that will apply to Britain’s 14 electricity distribution networks from 1st April 2023 (Pipes & Wires will examine the RIIO – ED2 price controls in detail during 2022).

The draft decisions for the gas distribution businesses

Key requirements of the draft decisions for the gas distribution businesses include…

| Requirement | Wales & West | Cadent | Northern | SGN |
| --- | --- | --- | --- | --- |
| Allowed annual return | 2.63% | 2.63% | 2.63% | 2.63% |
| Efficiency gain | 8% | 13% |  | 5% |
| Vulnerable customer support | £2.7m | £11.1m | £2.6m | £6.1m |
| Other | 75% of car fleet to be ultra-low emission. | 10% reduction in energy consumption | 10% reduction in electricity consumption | £10m to support biomethane injection |

The draft decisions for the transmission businesses

Key requirements of the draft decisions for the gas transmission and electricity transmission businesses include…

| Requirement | National Grid Gas Transmission | National Grid Elec Transmission | Scottish Power Transmission | Scottish Hydro Elec Transmission |
| --- | --- | --- | --- | --- |
| Allowed annual return | 2.63% | 2.63% | 2.63% | 2.47% |
| Efficiency gain | 8% | 16% | 14% | 14% |
| Target reliability improvement |  | 53% | 62% | 15% |
| Funding to connect renewables |  | 15,000MW | 1,000MW | 3,000MW |

Next steps

Pipes & Wires will comment further once Ofgem publishes its final decisions around December 2020.

Industry reshuffling

US – Dominion sells gas storage and transmission assets

Introduction

Readers will be familiar with how assets are bought and sold to realign businesses with strategic objectives. This article examines Dominion Energy’s sales of its gas storage and transmission assets to Berkshire Hathaway.

Description of assets

The assets being sold include 12,200 miles of gas transmission pipelines and 900 BCF of gas storage. Dominion’s gas distribution businesses that supply 1,300,000 customers in Ohio and West Virginia its gas retail business that supply a further 1,000,000 customers in Utah, southern Wyoming and south-eastern Idaho are excluded from the sale.

The transaction

The transaction involves Berkshire Hathaway paying Dominion $4b in cash, and assuming $5.7b of debt. The deal is expected to conclude in late 2020 pending regulatory approval.

Dominion’s strategy for selling

A key element of Dominion’s strategy for selling the gas transmission and storage business is to focus on sustainable, state-regulated businesses. This is part of a wider zero-carbon strategy that includes closing 4,000MW of coal and oil-fired generation, migrating to renewable gas, and investing in zero-carbon generation.

UK – PPL plans to sell Western Power Distribution

Introduction

Most of us will be familiar with the successive waves of US investment in the UK that began last century when Entergy bought London Electricity (and sold it a couple of years later), closely followed by Pennsylvania Power & Light’s (PPL) purchase of South Western Electricity which ultimately grew into Western Power Distribution. This article examines PPL’s recently announced plans to sell WPD.

PPL’s strategy

PPL’s announcement to sell WPD follows a strategic review which concluded that the market was undervaluing WPD’s contribution to PPL, and is therefore worth more to another owner. Key components of PPL’s strategy include…

- Sharpening the focus on building a cleaner energy future in the US.

- Simplifying PPL’s business.

- Freeing up cash to pursue US investments.

- Strengthening the balance sheet and providing flexibility.

A bit about WPD

WPD owns and operates the electricity distribution licenses that correspond to the legacy South Western, South Wales, Midlands and East Midlands electricity boards which supplies 7,900,000 customers over a 55,000km2 service territory. Annual revenue is about £1.7b, and after-tax profit is about £550m. WPD is noted for consistently out-performing its revenue incentives under the RIIO – ED1 price control.

Next steps

JP Morgan Securities have been retained to advise on the sale, which is expected to be completed by mid-2021. It would seem that foreign electric companies interest in the UK is shrinking, so we might expect the recent trend of pension and investment funds buying European infrastructure to continue…

Energy mix and grid security

US – rolling blackouts in the Golden State

Introduction

California has recently experienced rolling blackouts. In amongst the political slagging and haunting memories of 2001, this article tries to get a clearer picture of what the underlying cause might be.

Actual events

During the middle of August 2020, California experienced record high temperatures (getting close to 110oF) and the California Independent System Operator (CAISO) declared various states of grid emergency as demand exceeded supply. It appears that an unhelpful convergence of the following factors occurred…

- High temperatures, leading to increased air conditioning demand.

- Pandemic restrictions that kept people at home, requiring more air conditioners to run.

- Loss of about 1,000 MW of wind generation.

- A forced outage of 470 MW of gas-fired generation.

- Cloud cover and the inevitable nightfall that reduced solar generation.

- Lower imports from Oregon and Washington due to high air conditioning demand there also (the heat wave was across the whole west coast, not just California).

What seems to be the underlying cause

An official statement from the CAISO is “renewables are not really a factor (in the outages) … it’s simply a matter of raw capacity”. Other (less official) comment notes that although the impact of renewables on the power grid is reasonably well understood there is still more work to be done, particularly around the wider principle of resource adequacy and specifically how solar is accounted for on an hour-by-hour or minute-by-minute basis.

Former FERC member and chair Cheryl LaFleur set out the following 4 key points in her recent editorial which nicely summarises things…

- Lack of clear accountability for having the resources to keep the lights on.

- Lack of resources to balance solar and wind power.

- Closing disfavored resources before opening the new ones.

- Operating in a silo.

Possible answers looking forward

A key part of the energy transition will be recognising the security of different resources, which would appear to raise a couple of issues…

- Traditional reserve capacity margins (eg. 15% in California, 17% in the UK) appear to have assumed that all reserve capacity was secure. In the days of coal-fired steam turbines, that was a reasonable assumption, but not so as wind and solar penetration increases.

- Policy and regulatory indifference to specific technologies might require a re-think.

So further work on resource adequacy, such as that planned in California, would seem to be a good starting point.

Techniques & technologies

Europe – examining the A-Nord cable

Introduction

Most things with lots of volts are cool, and if it also has lots of amps they are even cooler. So when news emerged of a major cable supply contract being awarded, it was a little bit exciting. This brief and unashamedly technical article examines the A-Nord HVDC cable which is part of the 2,000MW German electricity corridor.

The A-Nord

The A-Nord is part of Germany’s (and Europe’s) integrated electricity corridor, stretching about 300km from Emden to Osterath. This will connect with the Ultranet which runs a further 320km south to Philippsburg. The HVDC link is being built by transmission grid owner Amprion.

The cable itself

The cable itself is pretty amazing … a 525kV DC thermoplastic elastomer cable rated at 1,000MW. So that’s a bit bigger than the bit of 220kV AC XLPE cable under my garage bench (which from memory is a 2,500mm2 copper cable rated at about 550MW).

General stuff

Guide to NZ electricity laws

I’ve compiled a “wall chart” setting out the relationship between various past and present electricity Acts, Regulations, Codes etc in sort of a chronological progression. To request your free copy, pick here. It looks really cool printed in color as an A2 or A1 size.

A bit of light-hearted humor

What if price control had been around in the 1920’s and 1930’s ? A collection of classic historical photo’s with humorous captions looks at some of the salient features of price control. Pick here to download.

A potted history of electricity transmission

I’ve recently compiled a potted history of electricity transmission. Pick here to download.

Wanted – old electricity history books

Now that I seem to have scrounged pretty much every book on the history of electricity in New Zealand, I’m keen to obtain historical book, journals and pamphlets from other countries. So if anyone has any unwanted documents, please email me.

House-keeping stuff

Opt out from Pipes & Wires

Pick this link to opt out from Pipes & Wires. Please ensure that you send from the email address we send Pipes & Wires to.

Disclaimer

These articles are of a general nature, they do not constitute specific legal, consulting or investment advice, and are correct at the time of writing. In particular Pipes & Wires may make forward looking or speculative statements, projections or estimates of such matters as industry structural changes, merger outcomes or regulatory determinations. These articles also summarise lengthy documents, and it is important that readers refer to those documents in forming opinions or taking action.

Utility Consultants Ltd accepts no liability for action or inaction based on the contents of Pipes & Wires including any loss, damage or exposure to offensive material from linking to any websites contained herein, or from any republishing by a third-party whether authorised or not, nor from any comments posted on Linked In, Face Book or similar by other parties.