Pipes & Wires

## Though leadership of critical energy & infrastructure matters

## Issue 207 – August 2021

From the editor’s desk…

Welcome to Pipes & Wires #207 … we start this issue with a look at the proposed updating of distribution regulatory settings in NZ, along with an unfolding view on battery ownership in New York state.

We then examine some network regulatory decisions in NZ and the UK, followed by some industry reshuffling in NZ, the UK and Nigeria. This issue concludes by examining the closure of coal-fired generation in Australia and the rolling blackouts in California. So … until next month, happy reading…

Subscribe to Pipes & Wires

If you’re receiving this second-hand, pick this link to subscribe.

Regulating emerging technologies

NZ – updating regulatory setting to integrate DER’s

Introduction

Regulators all over the world are updating policy settings to encourage electric distribution companies to integrate DER’s. This brief article notes the key themes of a recently released discussion paper in New Zealand.

Key themes of the paper

The key themes of the discussion paper include…

- Information on power flows and hosting capacity, including better visibility of LV networks so that flexibility service providers can better target their services.

- Proposed supply standards, including addressing the frequency, voltage and harmonic problems that may arise from increased DER penetration.

- Promoting competitive markets for DER-related services, including removing entry barriers and creating level playing fields for third-party flexibility service providers.

- Issues around operating agreements for DER’s and flexibility services, including imbalances of negotiating power and the high cost of compiling agreements.

- Concern that not all electric distribution businesses will have sufficient skills and capability to integrate DER’s, leading to foregone customer benefits.

- Efficient pricing to correctly signal constraints and investment opportunities.

Next steps

The Electricity Authority will receive submissions on this discussion paper until 5pm on Tuesday 14th September 2021. Pick this link for help with compiling your submission.

US – regulator rejects battery ownership proposals

Introduction

Whether electric companies should own or operate batteries is one of the battle lines of the emerging world, with what seemed to be an even mix of regulatory decisions for and against. This article examines a recent decision by the New York Public Service Commission that inter alia rejected a request for utility-owned batteries.

The context for the decision

The Energy Storage Order 2018 required electric companies to competitively acquire the dispatch rights for bulk energy storage that would be operational by 31st December 2022. Implicit within the Order was the firm view that battery storage should be developed and owned by third parties.

The initial targets for 31st December 2022 included 300 MW of storage for Consolidated Edison, and 10 MW each for the other investor-owned electric companies in New York state.

The Joint Utilities Group petition

Initial market solicitations during 2019 and 2020 did not result in sufficient third party offers, prompting the Joint Utilities Group to claim that the Energy Storage Order 2018 needed to be amended to achieve the goal of 3,000 MW of battery storage by 2030. Hence the electric companies petitioned for the following…

- An extension to the 31st December 2020 deadline out to 2025.

- Extending the duration of the dispatch rights contract from 7 years to 10 years.

- Ownership of batteries by the electric companies for a limited period, followed by a competitive sale process to third party operators in which the electric company would retain ownership for 2 further years if minimum sale prices were not met.

Key features of the NYPSC’s decision

Key features of the NYPSC’s decision include…

- Approving the requested time extension.

- Approving the requested duration of dispatch rights.

- Declining the ownership proposal, on the basis that it could inhibit the development of a competitive storage market and that the evolving NYISO rules would increase the certainty of emerging revenue streams.

Further reading

- Pipes & Wires #186 – simplifying market access for battery storage (FERC Order #841).

Recent client projects

Recent client projects include…

- Identifying the key features of distributor-led DSO models.

- Identifying a range of structural and service delivery models for an electric company.

- Identifying the global and regional trends facing transmission grid operators for a US client.

- Providing an independent review of asset condition and spend forecasts for a distribution company investor.

- Estimating the costs of DERMS (distributed energy resource management system) penetration for distribution feeders for a large US electric company.

- Identifying leading practices in behind-the-meter activities (eg. batteries, solar, smart data, VPP’s etc) for a large US electric company.

- Identifying key learnings from the transformation of a Dutch electric, gas and heat company for a large US electric company.

- Identifying best Australian practices in EV charging for a large US electric company.

- Identifying key features of demand management in the Australian NEM for a large US electric company.

- Compiling a pricing model to reflect asset investment levels to transmission grid exit level rather than averaged over the entire network.

- Identifying best practices in grid-scale and community-scale batteries for an Australian distributor.

- Identifying best practices in EV charging on behalf of an Australian distributor.

- Recommending amendments to a security of supply standard to better reflect demand density.

- Identifying best customer engagement practices on behalf of an Australian distributor.

- Development of an asset management journey aligned to ISO 55001.

- Identifying learnings from the RIIO – ED1 reset on behalf of an Australian distributor.

- Developing a smart metering strategy.

- Advising on likely available electrical contractors.

- Undertaking a customer survey to identify customer preferences for off-peak EV recharging.

- Developing a strategy for complying with the related party transaction provisions.

- Advising on the regulatory implications of an aging timber transmission pole fleet.

- Compiling some introductory thoughts on digital transformation and blockchain.

- Facilitating a series of client workshops to better understand asset information criticality and in-service failure risk.

- Assessing the strength of asset management practices.

- Reviewing recent AER decisions to understand the expectations around asset management practices and methods.

- Reviewing the AER’s recent treatment of network transformation expenditure.

- Compiling overhead conductor and wooden cross-arm fleet strategies.

- Identifying the issues around customer-owned lines on private land.

- Developing a risk-based tree trimming strategy.

- Developing an EV charging strategy.

- Analysing transmission charges as a percentage of total electric bills.

- Compiling a strategy for improving the resilience of a sub-transmission network.

- Developing a best-practice guideline for smart metering.

Cool multimedia stuff

Building NZ’s electric system

The next few issues will include links to some videos of building NZ’s electric system … from the central South Island in Pipes & Wires #206 we now move to the central North Island to examine the Tongariro Power Scheme around 1970.

Asset management and asset strategy podcasts

My colleagues at the UMS Group have put together a series of podcasts on asset management and asset strategy, including an interview with me on how to make asset management happen in small companies. This has also been republished as a short narrative.

Bruce Springsteen cover … by my awesome daughter

Pick this link to see my awesome daughter Becca Caffyn singing Bruce Springsteen's "Dancing In the Dark" off the 1984 album Born In The USA.

Network regulatory decisions

NZ – setting the WACC for electricity and Wellington Airport

Introduction

The Commerce Commission recently released its cost of capital decisions for the 2022 disclosure year for electricity distribution businesses and for Wellington Airport. This article examines the key features of those decisions.

Regulatory frameworks

The regulatory frameworks are set out in…

- Clauses 2.4.1 to 2.4.9 of the Electricity Distribution Services Input Methodologies Determination 2012 (consolidated to 31st January 2019).

- Clauses 5.1 to 5.7 of the Commerce Act (Specified Airports Services Input Methodologies) Determination 2010.

Key features of WACC’s

Key features of the WACC’s include…

| Company | Parameter | 25th percentile | Mid-point | 67th percentile | 75th percentile |
| --- | --- | --- | --- | --- | --- |
| EDB’s | Vanilla WACC | 3.14% | 3.82% | 4.26% | 4.50% |
|  | Post-tax WACC | 2.84% | 3.52% | 3.96% | 4.20% |
| Wellington Airport | Vanilla WACC |  | 5.06% |  |  |
|  | Post-tax WACC |  | 4.94% |  |  |

UK – planning the PR24 water price control

Introduction

The UK water and sewage regulator Ofwat recently released their initial views on the framework for the PR24 price review. This article examines the key features of Ofwat’s views, and makes some comparisons with the RIIO electricity and gas price controls.

Key features of Ofwat’s initial views

Key features include…

- Increased focus on the long term, including a clearer vision of long-life asset stewardship, obtaining a fuller understanding of long-term resilience, and more robust analysis of investment proposals.

- Delivering greater environmental and social value, including more visible exploration of different approaches to delivering core water services, and a stronger focus on key concerns such as biodiversity, flood reduction and reduced storm overflows.

- Reflecting a clearer understanding of customers and communities, including building on the customer engagement practices evident in PR14 and PR19, but also influencing key customer behaviors such as reducing water consumption and correct waste disposal.

- Driving improvements through efficiency and innovation, including building on the challenging cost reduction and service improvements from PR19. This will include ROI incentives to firstly set challenging targets and then secondly out-perform those targets.

Ofwat also notes that it will be required to balance providing clarity for future price reviews on the one hand with room to adapt on the other hand.

Comparisons with the RIIO price controls

Long-time readers will probably remember that Ofgem’s RIIO – 1 electricity and gas price controls embodied the following 5 features…

- Stakeholder engagement processes.

- Outputs.

- Efficient costs.

- Efficient financing.

- Prudent management of uncertainty and risk.

The key features of Ofwat’s initial views appear to align strongly with the RIIO – 1 features.

Next steps

Ofwat is consulting on its views, and expects to publish its draft methodology in mid-2022.

Industry reshuffling

NZ – Mercury enters binding agreement to acquire Trustpower’s retail business

Introduction

Earlier in 2021 Trustpower announced a strategic review of its retail electricity, gas and communications business, including the possibility of selling it. This article examines Mercury’s offer to buy that retail business in the context of Pipes & Wires #206’s article on de-mergers.

Trustpower’s strategic review

Back in January 2021 Trustpower announced a review of its retail business to…

- Test the market interest in buying the business, and

- Explore the merits of becoming a stand-alone generation business.

A range of strategic issues including decarbonisation, decentralisation and digitialisation prompted the review. The retail business supplies bundled electricity, gas, fixed and wireless broadband and mobile phone services to approximately 231,000 customers nationwide.

Mercury’s conditional offer

In June 2021 Mercury entered into binding agreements to acquire the retail business for $441m conditional on several matters including Trustpower shareholder, completion of the proposed restructure of the Tauranga Energy Consumers Trust (TECT) and Commerce Commission clearance. Trustpower will retain all generation assets, about 14,000 large electricity customers, power purchase agreements, and existing hedge contracts.

Thanks to Mercury for their assistance with this article.

Some thoughts on the wider de-merger theme

Pipes & Wires #206 noted that after a 25 years of horizontal amalgamations to increase scale (and sometimes scope), de-mergers began to occur as the differing value drivers of lines and energy occurred. Horizontal de-mergers such Trustpower (and its previous demerger of Tilt Renewables) and AGL are further emphasising the differing value drivers of generation and retail.

Further reading

- The 12D’s of electricity distribution in the emerging world

- TECT’s history

UK – Pennon acquires Bristol Water

Introduction

It’s been a while since Pipes & Wires has examined any reshuffling of the UK water industry, so recent news that Pennon has acquired 100% of the issued capital of Bristol Water provided a great opportunity to have another look at this sector.

A bit about the companies

The two companies are…

- Pennon is an environmental services group that inter alia owns South West Water, which supplies water and sewage services to a population base of 1,700,000 in Cornwall and Devon, and in parts of Somerset and Dorset. Annual revenues are about £645m, and annual NPBT is about £157m.

- Bristol Water Holdings UK Ltd includes Bristol Water plc, which supplies drinking water to about 1,200,000 customers in the 2,600km2 centered on Bristol (sewage services are provided by Wessex Water). Annual revenue is about £125m, and NPBT is about £9.2m.

The proposed deal

Pennon acquired 100% of the issued share capital in Bristol Water Holdings for £425m cash plus debt assumption of £389m, making an enterprise value of £814m. That enterprise value represents about 20% of Pennon’s enlarged asset value.

The strategy behind the deal

The sale of the Viridor waste and recycling business during FY21 was a key component of Pennon’s exclusive re-focusing on the UK water industry, and provided nett proceeds of £3.7b. The acquisition of Bristol Water is a highly complementary continuation of that strategy, enabling both operational synergies and a return of about £1.9b to shareholders.

Nigeria – selling the generators

Introduction

News recently emerged that Nigeria is offering 5 generating plants for sale as part of its reform process that has already seen 11 distributors and 6 generators sold. This article examines the initial stages of the sale process of 5 gas-fired generators to set some context for later analysis.

The generators being offered for sale

The 5 generators being offered for sale include…

- Geregu Generation Company Ltd – 506MW open-cycle gas turbine.

- Benin Ihovbor Generation Company Ltd – 507MW open-cycle gas turbine with provision to convert to combined-cycle.

- Calabar Generation Ltd – 643MW open-cycle gas turbine with provision to convert to combined-cycle.

- Omotosho Generation Ltd – 513MW open-cycle gas turbine with provision to convert to combined-cycle.

- Olorunsogo Generation Company Ltd – 754MW combined cycle gas turbine.

This 2,900MW represents about 23% of Nigeria’s installed capacity.

The sale framework

The sale process is occurring within a framework based on the National Electric Power Policy 2001 which led to the Electric Power Sector Reform Act 2005. The Act includes provision for...

- Establishment of corporations to takeover over the various assets and liabilities of the National Electric Power Authority.

- The formation of the Nigerian Electricity Regulatory Commission to oversee the transmission and distribution functions.

- Establishment of a wholesale electricity market.

Readers shouldn’t be surprised at any of that … all very standard sector reform stuff.

The expected sale process

The sale process is being managed by the Bureau Of Public Enterprises, and calls for bids for 100% shareholdings in any of the 5 companies from experienced generation companies. The Nigerian government hopes to raise N434b (about NZ$1.467b) from the sale of Geregu, Omotosho and Calabar alone.

Energy mix and grid security

Aus – closing coal-fired generation

Introduction

A couple of months ago EnergyAustralia announced its intention to close the Yallourn W coal-fired station in Victoria in 2028, about 4 years ahead of its originally planned closure date of 2032. This article examines the planned closure, and a proposed orderly closure of remaining coal-fired generation to minimise price spiking.

A bit about Yallourn W

The current Yallourn W station comprises two 350MW and two 375MW steam turbines, and is located in the Latrobe Valley about 130km east of Melbourne . The station is fired on Victoria’s renowned brown coal, burning about 18,000,000 tons per year. Yallourn W supplies about 22% of Victoria’s electricity, and about 8% of the NEM’s electricity.

The closure plans

Earlier in 2021, EnergyAustralia announced that the intended closure in 2032 would be bought forward to mid-2028. This is due to a combination of…

- Falling wholesale prices.

- Rising maintenance costs as the plant ages (it will be close on 50 years old now).

- Decreasing ability to ramp up and down to match variable renewable generation.

- Exhausting of the Yallourn coal mine.

The closure is expected to be preceded by the installation of a 350MW battery at Jeeralang.

An orderly withdrawal and the energy trilemma

No analysis of a power station closure would be complete without a look at the energy trilemma, a model which highlights the interdependence of price, security and emissions. As noted previously, the closure of Hazelwood in 2017 caused average prices in Victoria to increase from $60 per MWh to around $100 per MWh, and also caused a decline in grid security.

However, there is general agreement amongst commentators that the seemingly ad-hoc closure announcements have contributed as much to the price rises as the closures themselves, and to this end a centrally-coordinated Coal Generation Phasedown Mechanism has been proposed in which generators would bid the value they attach to continued generation for target dates of 2026, 2028 and 2030. Those values would then allow a coordinated and least-cost closure of the least efficient coal-fired stations.

Further reading

- Pipes & Wires #193 - increasing concern over coal-fired closures.

- Pipes & Wires #192 – examining the impact of the planned Liddell closure.

- Pipes & Wires #175 – retaining coal-fired generation.

- Battery in, coal-fired power out as energy giant closes Yallourn plant four years early.

- Concerns of price spikes after Yallourn power station closure brought forward to 2028.

US – power shortages in the Golden State

Introduction

Pipes & Wires #200 examined the rolling blackouts in California in the 2020 summer, and noted that the cause appeared to be the unhelpful convergence of several factors that led to a capacity shortage. This article examines the recurring shortages in the 2021 summer to set some context for future analysis.

The CaISO warnings

In late June the CaISO warned that rising temperatures and droughts could mean capacity shortages, noting that demand response and customer conservation would be critical to getting through summer. Key issues include…

- Low hydro storage going into a long, dry summer

- Reduced imports from Arizona, Washington and Oregon as those states battle their own hydro shortages and high air-con demand.

- Temperatures expected to be above normal, getting towards 105oF.

What’s changed since the 2020 summer ?

A couple of things have changed in California since the 2020 summer…

- Reduced imports from the Pacific North-West in particular.

- Approval of an 11,500 MW procurement package by the CPUC in June 2021, including 2,000 MW of capacity available by 2023 and stepping up to the full 11,500 MW being available by 2026.

- An expected 1,490 MW of batteries coming on-line over the June quarter. The CaISO notes that unlike gas-fired generation, these batteries will need careful management to ensure they are fully charged to supply the evening peak (when demand climbs and solar generation also declines).

- A campaign by OhmConnect to offer 1,000,000 smart thermostats that could reduce peak demand by 680 MW.

It is, however, worth noting that 3,700 MW of gas-fired generation and 2,200 MW of nuclear generation are scheduled to close by 2025, leaving a nett 5,600 MW of new generation by 2026. Pipes & Wires will pick up this story again later in 2021 as the summer heat fades in fall…

General stuff

Guide to NZ electricity laws

I’ve compiled a “wall chart” setting out the relationship between various past and present electricity Acts, Regulations, Codes etc in sort of a chronological progression. To request your free copy, pick here. It looks really cool printed in color as an A2 or A1 size.

A bit of light-hearted humor

What if price control had been around in the 1920’s and 1930’s ? A collection of classic historical photo’s with humorous captions looks at some of the salient features of price control. Pick here to download.

Extending the above, a second collection of classic historical photo’s with humorous captions looks at some topical issues of regulating emerging technologies. Pick here to download.

A potted history of electricity transmission

I’ve recently compiled a potted history of electricity transmission. Pick here to download.

Wanted – old electricity history books

Now that I seem to have scrounged pretty much every book on the history of electricity in New Zealand, I’m keen to obtain historical book, journals and pamphlets from other countries. So if anyone has any unwanted documents, please email me.

House-keeping stuff

Opt out from Pipes & Wires

Pick this link to opt out from Pipes & Wires. Please ensure that you send from the email address we send Pipes & Wires to.

Disclaimer

These articles are of a general nature, they do not constitute specific legal, consulting or investment advice, and are correct at the time of writing. In particular Pipes & Wires may make forward looking or speculative statements, projections or estimates of such matters as industry structural changes, merger outcomes or regulatory determinations. These articles also summarise lengthy documents, and it is important that readers refer to those documents in forming opinions or taking action.

Utility Consultants Ltd accepts no liability for action or inaction based on the contents of Pipes & Wires including any loss, damage or exposure to offensive material from linking to any websites contained herein, or from any republishing by a third-party whether authorised or not, nor from any comments posted on Linked In, Face Book or similar by other parties.