# Pipes & Wires

## THE JOURNAL OF ENERGY & INFRASTRUCTURE MATTERS

## Issue 61 – July 2007

From the director…

|  | Welcome to Pipes & Wires #61. This issue is very much a mixed bag of deals, regulatory determinations and a look at asset strategy and renewals. We examine BBI and Singapore Power’s successful bid for Alinta, ENEL’s successful bid for Endesa and the troubled merger of Suez and Gaz de France. We also look at the start of the next electricity price control in South Australia and how the national regulator in Australia is looking to incentivise reduction of transmission constraints. We then take a look at the impending wholesale electricity market in Ireland, consider part two of a two-part article on the changing role of equity and then consider asset renewals in light of last weeks steam pipe rupture in Manhattan. |
| --- | --- |

About Utility Consultants

Utility Consultants Ltd is a management consultancy specialising in the following aspects of energy and infrastructure networks…

| - Mergers & acquisitions | - Asset management |
| --- | --- |
| - Strategic studies | - Financial analysis |
| - Economic & structural regulation | - Risk management |

To be sent a detailed profile of recent projects, pick this link.

NZ – northward march the pylons

Introduction

Earlier this month the Electricity Commission released its final decision to approve a new transmission line from Whakamaru to Pakuranga that will initially operate at 220kV but will eventually operate at 400kV. This article briefly summarises the key aspects of the Commission’s decision.

Key aspects of the Commission’s decision

Key features of the final decision are…

- By a 3 to 1 vote with 1 abstention, the Commission confirmed Transpower’s proposed 220kV line with eventual upgrade to 400kV. By implication, a majority of the Commissioners believe that Transpower’s proposal meets the criteria set out in Part F, Section 3, Rule 13.4.1 of the Electricity Governance Rules 2003.

- The Commission believes that Transpower’s proposal will achieve the necessary grid reliability through good electricity industry practice.

- The Commission believes that Transpower has complied with all the procedural requirements as required by Part F, Section 3, Rule 13.4.1.2.

- A majority of Commissioner’s concluded that Transpower’s proposal would minimise the overall cost.

- The Commission notes that Commissioner Graham Pinnell’s dissenting view stems from the assumptions in the Grid Investment Test.

Pipes & Wires will make further comment if any significant additional matters emerge.

Zambia – pro-bono opportunity to serve

A pro-bono opportunity has arisen at the North West Zambia Development Trust for an experienced hydro power station manager. The Trust has recently commissioned the Kalene Power Station and is looking for someone with both plant operating and commercial skills that can put systems and processes in place. This is a voluntary position for as long as the person is prepared to commit to - housing, food and transport would be provided.

Interested parties can pick here to contact Phil Caffyn in the first instance.

Aus – work on the SA transmission price cap begins

Introduction

In late May ElectraNet submitted its proposed revenue cap to the Australian Energy Regulator for the period 1 July 2008 to 30 June 2013 for the electricity transmission grid in South Australia. This article examines the key features of ElectraNet’s proposal to set some context for future analysis.

Key features of ElectraNet’s proposal

Key features of ElectraNet’s proposal are as follows…

- A forecast CapEx of $778m for the control period including $138m for the mandated reinforcement for the Adelaide CBD, compared with about $435m for the current control period.

- A forecast Controllable OpEx of $292m for the control period, compared with $223 for the current control period.

- A forecast opening RAB of $1,276.5m for the control period, which includes about $116m of expected additions to the closing RAB for the current period.

- A forecast regulatory depreciation of $327.3m and forecast tax depreciation of $193.7m for the control period.

- A forecast nominal vanilla WACC of 8.79% for the control period.

ElectraNet expects its proposal to add about $7.50 per year or about 0.7% to the average domestic power bill.

Next steps

The AER is currently receiving submissions on ElectraNet’s proposal until 17th August, and in due course will publish its draft and final determinations. Pipes & Wires will make further comment as they emerge.

PAS 55 – the emerging standard for asset management

Introduction

Many jurisdictions have required regulated utilities to prepare and publicly disclose asset management plans (AMP’s) for many years. Some jurisdictional regulators are, or have already, moved on from simply requiring disclosure of an AMP to requiring assurance that the systems and processes used to generate the AMP (and more importantly, to manage the assets) are robust. This article briefly examines Publicly Available Specification (PAS) 55-1:2004 “Specification for the optimised management of physical infrastructure assets” and describes how your company can use the framework set out in PAS 55-1 to strengthen its AM activities.

What exactly is PAS 55-1

PAS 55-1 describes the asset management activities that a business heavily dependent on fixed assets should be performing. It is a non-prescriptive approach that avoids “box-ticking”. The rationale for including an asset management activity in PAS 55-1 is that omitting the activity would make the organisations asset management processes deficient.

The development of PAS 55-1 arose from the demand from asset-dependent industries for a good practice framework, and it was considered that such a standard could be bought to market quicker as a PAS rather than a BS or ISO standard.

Is PAS 55-1 a substitute for wisdom and experience ??

Certainly not - just like a road map shows the way but doesn’t make a good driver, PAS 55-1 describes what a prudent asset manager or steward should be doing but it is not a substitute for experienced people. Furthermore it doesn’t tell the asset manager how to do things – that is left for local knowledge and interpretation.

Regulatory drivers for prudent asset management

Around 2002 OFGEM’s sought assurance about the integrity of the UK’s electricity and gas networks. This was heightened by failures in other infrastructure sectors around that time. OFGEM was keen to maintain its hands-off approach to regulation and did not wish to micro-manage utilities internal processes. The approach adopted was the Asset Risk Management survey that was designed to determine what the utilities were doing, not how they were doing it. Around this time the newly founded Institute of Asset Management started developing PAS 55 in conjunction with the British Standards Institution.

OFGEM has now stated that it won't re-run its bespoke survey if companies obtain independent certification to PAS55 by an external auditor. This is now the direction of travel and many UK companies have obtained certification, with others following. Certification does not mean that OFGEM will unquestioningly accept the spend plans proposed by an certified utility, but it does mean that a utilities processes have been audited to a best-practice benchmark and there is a common language and approach that will help smooth the review of capital investment plans.

Improving your AM activities

Improving your AM activities essentially involves the following steps…

- Identifying where you existing policies, strategies, processes and systems should reasonably be having regard to the organisation’s size and resources.

- Identifying the status of your existing policies, strategies, processes and systems.

- Identifying the gaps.

- Defining the improvements that need to be made to existing policies, strategies, processes and systems to close the gaps.

- Establishing clear priorities for implementing the improvements.

- Implementing the improvements.

- Reviewing how successful the improvements have been and then starting the cycle again.

To find out more about improving your AM activities pick here or call Phil on +64-7-8546541, or to simply request a Slide Show on implementing PAS 55-1 pick here.

Finance – the changing role of equity (Part 2)

The motivations begin to shift

The motivations of the equity holders during these waves appeared to be Investigative (learning about deregulating markets) and Traditional (simply making a better return on equity than they could at home). As the Victorian gas industry was privatised (and as a bunch of gas networks in New Zealand were put up for sale) equity investors such as TXU and Aquila began to experiment with Transformational strategies.

The cycles begin to shift

All four of these waves (up to about 2000, perhaps 2001) seem to have been strongly characterised by simple equity investments. Probably the only obvious exception was Aquila’s (back when it was called Utilicorp) investment in United Energy (Victoria) in which an investment fund was also involved. That forms a starting point for the rest of this story.

And the role of equity becomes more complicated

Once upon a time predominant or total equity stakes were taken. This carried with it a number of associated consequences such as capturing all the returns, being able to appoint most or all of the directors, and (the downside) of having a high risk exposure. Since about 2000 (or perhaps 2001) the role of equity seems to have changed markedly. In an approximate time sequence the following roles of equity have emerged…

- First there was the inclusion of institutional investors. It seems that Aquila’s investment model for United Energy may have been a pioneer, which has been more recently followed by the Ontario Teachers Pension Plan. One of the characteristics of this model was that the utility only ever took a partial equity position and that it sought unregulated revenues from managing the business.

- Then there was the move to partial sell downs or partial IPO’s where a utility had originally taken a full or predominant equity position. The recent IPO’s of Spark Infrastructure and SP AusNet in Australia are good examples. The ensuing strategy appears to be retain control, retain the management contract and free up cash for further acquisitions.

- Now the latest (although not surprising) is the role of private equity funds. This seemed to emerge when Nomura was interested in Dwr Cymru Welsh Water a few years back, but seems to have sprung to prominence with Babcock & Brown’s various acquisitions and of course KKR’s bid for TXU. One of the significant underlying issues of this model that emerged when Nomura pursued Dwr Cymru was OFWAT’s nervousness over management expertise. Tied up with all this are various funds that are being spun off to focus on market segments with specific risk-reward profiles to better meet investor preferences.

Aus – it’s all over for Alinta

Introduction

Alinta’s plans to improve shareholder value have finally come to an end as Babcock & Brown and Singapore Power emerges as the successful bidder. This article briefly examines the deal’s history and summarises the key points of B&B’s offer.

Background

Alinta’s determined strategy for growing shareholder wealth is no stranger to the pages of Pipes & Wires however a convenient starting point for this story is the management buy-out that was launched earlier this year which was rapidly followed by speculation that B&B would launch a bid. The management buy-out eventually came to nothing but by April 2007 B&B had made a clear bid in conjunction with Singapore Power, whilst Macquarie Bank also launched a competing bid.

By the end of April Alinta had indicatively chosen a $7.4b cash & shares offer from B&B and SingPower in preference to a $7.6b cash offer from Macquarie, and then during May Alinta announced that B&B and SingPower’s bid was the confirmed winner.

Details of the deal

B&B and SingPower’s final offer, on a per-Alinta share basis, was as follows…

- $8.93 cash

- 0.752 B&B Infrastructure shares (valued at $1.32).

- 0.669 B&B Power shares (valued at $2.30).

- 0.26 B&B Wind Partner shares (valued at $0.50).

- 1.599 B&B Infrastructure exchangeable preference shares (valued at $1.60).

- 0.301 Australian Pipeline Trust units (valued at $1.26).

- $0.40 franking credits

The final offer was worth $16.31 per Alinta share (based on the previous five days trading prices of the B&B securities) compared to a closing price of $15.91 on 27th June.

Spain – ENEL captures Endesa

Introduction

Previous issues of Pipes & Wires have examined E.On’s disciplined €42.4b attempt to acquire Spanish utility Endesa and how this was gazzumped by ENEL’s lightning raid on Endesa’s share register. This article briefly summarises ENEL’s final capture of Endesa.

Background

E.On is well known for its disciplined approach to acquisitions (which we saw as they abandoned their bid for ScottishPower), so their pain-staking attempt to sort out all the commercial and regulatory issues associated with the Endesa bid was not surprising. However the accumulating of blocking stakes by nationally-minded Spanish companies was somewhat unexpected, and the lightning raid by ENEL … well that just seemed to come from nowhere !!! In the end E.On abandoned its pursuit of Endesa in return for reaching an agreement with ENEL and Acciona to on-sell about €10b of assets if their (ENEL and Acciona’s) bid for Endesa is successful.

Bringing the dealings to a close

Earlier this month the EU approved Acciona and ENEL’s €43.7b takeover of Endesa after concluding that it did not present any significant competition issues. The Spanish energy regulator CNE also gave its approval which contained 12 conditions, whilst approval from the Spanish securities market regulator CNMV was awaited at the time of writing.

What does all this mean for energy consolidation in the EU ??

Probably one of the most significant issues for energy consolidation is the mounting tension between the EU’s call to regionalisation and individual member states becoming more nationally focused than ever, with strong nationally owned utilities being seen as a safeguard for energy supplies. This was very clear in the Spanish government’s preference for Endesa to merge with SDG Gas Natural (and in an ironic sort of way, Spain’s energy sector is probably weaker then ever now), and also in former French Prime Minister Dominque de Villepin’s cry of “economic nationalism” in regard to Suez and Gaz de France merging.

So … it will be interesting to see the practical outworking of this tension. My guess is that France will come under further pressure to liberalise its own energy markets given that it has taken advantage of sector liberalisation in the UK and Germany.

Ireland – creating a single electricity market

Introduction

At the request of one of our readers, Pipes & Wires is examining the All Island Project, a joint initiative by the Commission for Energy Regulation and the Northern Ireland Authority for Utility Regulation to create a single gas and electricity market across the two sovereign jurisdictions in Ireland. The stated goals of the All Island Project are…

- Increased competition amongst suppliers.

- Downward pressure on costs.

- Improved security of supply.

The key step in the All Island Project

The first step in the All Island Project was the development of a Single Electricity Market based around a pool into which all generation must be sold and from which all energy consumed within or exported from Ireland must be purchased from. The SEM high-level design was completed in June 2005, whilst version 1.0 of the Trading & Settlement Code was published in February 2006. Even more recently the legal framework for the SEM went was enacted in both jurisdictions on 3rd July 2007 in preparation for the commencement of the SEM on 1st November 2007.

Governance arrangements

Because the All Island Project is a joint initiative between two separate sovereignties, the CER and the NIAUR will refer all SEM issues to a joint Committee for consideration. Similarly the operation of the SEM will be jointly managed by EIRGrid and SONI under recently issued licenses.

Pipes & Wires will make further comment once the SEM kicks off in November.

Aus – incentivising transmission reliability

Introduction

Unplanned transmission outages can and do disrupt the proper functioning of energy markets by forcing the use of out-of-merit generation. This article examines the reasoning behind a recent discussion paper by the Australian Energy Regulator to strengthen the linkages between transmission reliability and energy market outcomes.

Linkages between reliability and market efficiency

The AER has identified the following three transmission issues that can impact on wholesale energy market efficiencies…

- Total Cost of Constraints (TCC) which is derived by modeling the cost of generation in the absence of all constraints. The TCC can be highly variable depending on whether a generator that is “constrained off” needs to be replaced by a low or a high cost generator.

- Outage Cost of Constraints which is similar to but slightly narrower than the TCC in that it only considers the costs of transmission outages rather than constraints in general.

- Marginal Cost of Constraint which estimates how much the overall generation cost would be reduced if a given constraint was reduced by 1MW.

Modeling and data compilation by the AER has revealed that during the 2005/06 year 41 constraints in the mainland interconnected grid resulted in a TCC of about $66m, which although low in comparison to the value of energy being traded, is a significant increase over previous years. Most of the constraints (by number) are between the legacy state grids rather than within them. The OCC has risen over recent years from about from 25% of TCC in 2003/04 to about 41% in 2005/06, showing that outages are an increasing driver of lost energy market efficiencies.

The AER’s approach

The $66m mentioned above obviously wouldn’t go very far in relieving 41 constraints, and indeed the AER recognises this and takes the view that any incentives developed as a result of the analysis should focus on operational processes rather than attempting to drive CapEx programs. Some of the operational processes suggested by the paper include…

- Scheduling of planned outages away from known grid peaks.

- Provision for re-scheduling or abandoning planned outages if power flows alter prior to the outage.

- Reducing outages through live-line work.

- Encouraging customers to adopt demand-side reductions during grid peaks.

- Use of tactical upgrades to increase line ratings.

- Better coordination of planned outages on adjacent or electrically connected plant that say links two legacy state grids, or a generator and an associated line.

The AER believes that individual grid operators should be financially incentivised to consider practices such as the above.

Next steps

The AER is accepting submissions on the discussion paper until 17th August. As they reach conclusions, Pipes & Wires will make further comment.

Global – a few thoughts on asset renewals

Introduction

Last weeks steam pipe rupture in Manhattan makes it timely to once again examine asset renewals. This article considers what actually happened and then discusses a few principles of asset renewal.

The events

The 83 year old steam pipe at the middle of it all is owned by utility Consolidated Edison, and was located at the corner of East 41st and Lexington in mid-town Manhattan. It is thought that ingress of cold water possibly after heavy rain may have caused the rupture. It not yet clear whether repairs to a pipe joint in the general vicinity several months ago may be related to last weeks rupture.

So what about the asset renewals

Proper debate on asset renewals being condition driven and the funding of renewals within a regulatory regime seems to have been unfortunately (but not surprisingly) lost in the frenzy that old is somehow bad and events such as this are yet further evidence that utilities are unaccountable and out of control.

So what can we make of all this ?? One way or another renewing aging infrastructure is going to be expensive … really expensive. The American Society Of Civil Engineers estimated last week that roading, airports and sanitary renewals in the US alone will cost about $1,600b over the next five years – that excludes gas, electricity and rail infrastructure. Similar figures may well be applicable to other jurisdictions.

If we consider that $1,600b estimate for the US alone, even a 1% efficiency improvement through more accurate timing and scoping of renewal, and more efficient work practices could yield savings of about $16b over 5 years. On that very subject of improving CapEx, I’m going to be presenting a presentation on “Getting the CapEx right” at a conference in September, so if you’d like to be sent a copy of that presentation after the conference, pick here.

France – update on the Suez – GDF merger

Introduction

Pipes & Wires #60 noted that incoming Prime Minister Francios Fillon expected to give the Suez – GDF merger a lesser priority than former PM Dominque de Villepin had. This article briefly examines events over the last month and considers where de Villepin’s “national energy champion” might end up.

Recent events

The last month has seen the following events…

- Prime Minister Fillon wishes to take time to reflect on the deal, but not necessarily delay it.

- President Sarkozy seems to favor some sort of pan-national consolidation of gas utilities to strengthen regional supply capacity, possibly involving Spain’s SDG Gas Natural. However this would require full privatisation of GDF, something Sarkozy promised not to do when he was Finance Minister in 2004.

- Trade union initiated court action postponed a GDF board meeting at which a merger with Suez was to be approved.

So all in all it’s not looking good on a number of fronts. As the giants like E.On, EDF and ENEL further consolidate the EU energy sector smaller players like GDF may not have the time to sit and consider their options. It seems that the French government is now faced with some very hard and conflicting issues for which a way forward for “a national energy champion” is far from clear.

Ezra Scattergood, the father of municipal power

Ezra’s early years and education

Ezra Frederick Scattergood was born in 1871 (not quite late 1800’s, but this is a good story) on a farm in New Jersey, and at an early age decided to devote himself to a life of public service. He went on to complete a BSEE degree at Rutgers University and a Master’s degree in mechanical engineering at Cornell University some time around 1897. Over the next five years he tutored electricity and experimental engineering at the Georgia School of Technology and married Lulie Chilton.

The shift out west

In 1902 Ezra and Lulie shifted to Los Angeles and in 1906 Ezra was retained by the City Of Los Angeles as its consulting engineer to extract hydroelectric power from the recently built 233 mile long Owens River Aqueduct. Ezra’s involvement in the aqueduct projects shaped his belief that Los Angeles destiny lay in providing cheap water and electricity, and moreover that the municipality should provide it. This vision obviously did not go unnoticed as Ezra was appointed the chief electrical engineer of the Bureau of Los Angeles Aqueduct Power in 1909, and two years later when the Bureau’s charter was amended to establish a municipal power system Ezra was confirmed as its chief electrical engineer.

Ezra’s years at the helm

Ezra’s appointment as Bureau chief in 1909 marked the beginning of an outstanding 31 year career as head of what is now the LADWP. One of his first tasks was to construct additional hydroelectric plants along the Owens River Aqueduct. The success of these plants enabled the Bureau to buy out most of the private power companies in the city area, including that part of SoCalEd’s network that was within the city of Los Angeles which was purchased in 1922 (history records that the battle between public and private power was already intense by this early stage).

Ezra also continued pursuing his vision of cheap electricity to underpin growth by advocating the construction of the Boulder Canyon Dam (originally planned to be called Hoover Dam, which it subsequently became in 1947) which was finally approved by Congress in 1928. Ezra subsequently negotiated a $23m federal loan to construct 266 miles of 287.5kV transmission lines into Los Angeles. These lines were the highest voltage lines ever built at the time, and represented a leap beyond the well established standard of 230kV which obviously required non-standard transformers. Apparently the 287.5kV was simply 2,500x the standard 115V which was the limit of the current insulation technologies and also of the tower design and conductor type chosen. The LADWP subsequently became an industry leader in EHV transmission that even the manufacturers sought advice from.

In 1937 the Bureau of Power & Light was merged with the Bureau of Water Works & Supply to form what we now know as the LADWP. The LADWP subsequently became the sole electricity distributor within the city by buying the electricity network of the Los Angeles Gas & Electric Corporation as Ezra continued his relentless focus on low cost electricity. History also records that this may not have been a mutually agreed transaction because the Charter of the City Of Los Angeles of 1925 appears to have given the City a priority right to distribute electricity.

In the late 1930’s Ezra was appointed to the National Power Policy Committee on Preparedness by President Roosevelt, whilst continuing as chief electrical engineer of the LADWP until his retirement in 1940 at the age of 69. After retiring Ezra continued to advise the LADWP and was a founding member of the APPA. Ezra passed away in 1947, and was the subject of many tributes including that of mayor Fletcher Bowron.

Conference papers

Utility Consultants has recently presented the following conference papers which are available upon request…

- “Tariff control of Pipes & Wires utilities – where is it heading??” – presented at the NZIGE Spring Technical Seminar, October 2006.

- “Setting service levels for utility networks” – presented at the Electricity Network Asset Management Summit, November 2006.

Conferences & events

- 9th Annual Energy Summit – 13th and 14th August 2007 (Wellington).

- 5th Annual Gas Industry Summit – 13th and 14th August 2007 (Wellington).

- 2nd Annual Climate Change and Energy Emissions Summit – 15th August 2007 (Wellington).

- 2nd Annual Complex Infrastructure Project Management Conference – 21st and 22nd August 2007 (Wellington).

- NZIGE Spring Technical Seminar – 17th – 18th September 2007 (Wellington).

- East Africa Power Industry Convention – 19th to 21st September 2007 (Addis Ababa).

- Land Pipeline Engineering – 25th – 26th September 2007 (New Plymouth).

- 1st Annual Metering, Billing & CRM Conference – 16th to 18th October 2007 (New Delhi).

Any old books in your library ??

I’m looking for old books and magazine articles on electricity industry and borough council history, especially books like jubilee celebrations of utilities or back copies of the old “Live Lines”. If you’ve got any old books like this that you don’t wish to keep please send them to me.

Tell me how good this issue was…

Please pick one of the links below to tell me what you think of this issue of Pipes & Wires…

- Excellent

- Very good

- Good

- Average

- Poor

If you get this is a hard-copy, your comments can be emailed to issue#61@utilityconsultants.co.nz If you receive this second-hand by email, you can receive Pipes & Wires directly by picking here.

Opt out from Pipes & Wires

Pick this link to opt out from Pipes & Wires. Please ensure that you send from the email address we send Pipes & Wires to.

Disclaimer

These articles are of a general nature and are not intended as specific legal, consulting or investment advice, and are correct at the time of writing. In particular Pipes & Wires may make forward looking or speculative statements, projections or estimates of such matters as industry structural changes, merger outcomes or regulatory determinations.

Utility Consultants Ltd accepts no liability for action or inaction based on the contents of Pipes & Wires including any loss, damage or exposure to offensive material from linking to any websites contained herein.