# Pipes & Wires

## THE JOURNAL OF ENERGY & INFRASTRUCTURE THOUGHT LEADERSHIP

## Issue 97 – January 2011

From the director…

Welcome to Pipes & Wires #97. Hopefully everyone had an enjoyable Christmas and New Year and endured the extremes of heat, cold and wet. Anyway, back into work for 2011 - this issue includes some regulatory decisions in New Zealand and the US, and then considers some acquisitions in the US and Australia. We then conclude this issue with some philosophical raving on industry issues and where they might go in the future.

Accredited supplier status

Utility Consultants is pleased to announce that it is now an Asia-Pacific Utilities Group (APUG) accredited supplier (registration number 88899493).

Get Pipes & Wires “white-listed”

To avoid being intercepted by your server as spam, please arrange to have phil.caffyn@utilityconsultants.co.nz “white-listed” by your IT people.

Pipes & Wires on the web

Pipes & Wires on Linked In

Pipes & Wires now has an on-line group for readers to keep in touch on a more regular basis, bounce ideas around or raise issues and concerns. Pick here to visit my Linked In profile and add me to your connections.

Pipes & Wires on Facebook

Pipes & Wires now also has its own Facebook page. Just go to Facebook’s home page and search for Pipes & Wires.

Pipes & Wires on YouTube

To see a short video clip explaining more about Pipes & Wires, pick here.

Pipes & Wires on the web

To read more about Pipes & Wires, pick here.

About Utility Consultants

Utility Consultants Ltd is a management consultancy specialising in pretty much all aspects of energy and infrastructure networks – pick here to see more, or to be sent a detailed profile of recent projects, pick here.

People in power

A couple of years ago Pipes & Wires featured the life stories of some blokes born in the late 1800’s who shaped the electric power industry as we now know it. Researching and writing those articles was a lot of fun, so I’m going to write a few more (and if anyone wants an electrical pioneer to be researched and included, pick here to contact me).

Bernard Cobb builds an electric empire

Birth and early years

Bernard Capen Cobb was born on 13th August 1870 in Dorchester, Massachusetts, the son of Sanford and Mary Cobb. Apart from graduating from the Phillips Academy in 1891, little is known about his childhood. After Phillips he then entered the railroad business (which was 1 of several sectors rapidly consolidating under the auspices of the investment bankers) for a few years.

The move from railroads to gas to electricity

Around 1895 Cobb left the railroad industry and joined the Grand Rapids Gas Light Company as a construction official. Cobb stayed in Grand Rapids until around 1900 and then moved to New York City and got involved in the construction, operating and financing of electric utilities for about 15 years.

Building the electric empire

In the early 1920’s, Cobb then got involved with the brothers-in-law Wall St bankers Alfred Loomis and Landon Thorne where they began to consolidate individual utilities. By 1929 they had consolidated 165 separate utilities into the giant Commonwealth & Southern Corporation, and it is here that this story becomes inter-twined with some other Pipes & Wires stories.

After consolidating C&S, Cobb persuaded an up-and-coming young utilities lawyer from Akron, Ohio, Wendell L. Willkie, to join C&S as senior legal counsel at the unheard of salary of $36,000 per year. Meanwhile, Cobb had promoted Alabama Power president Thomas W. Martin to president of C&S while Cobb assumed the chairman’s role. However in 1932, Cobb moved Martin back to the Alabama Power presidency and assumed the dual role of both chairman and president of C&S while he searched for a successor. In late 1932 Cobb’s health declined and he began steering Willkie into greater responsibilities until 24th January 1933 when Willkie was formally appointed to the president’s role (with a further jump in salary to $75,000 per year).

The industry going’s on at the time

The predominant view of history is that the consolidation of electric utilities in the 1920’s was full of chicanery and tricks like pyramids, non-voting stocks, and interlocking shareholdings etc. Vilified names like Sam Insull would no doubt be prominent, and many would hold the view that the industry (or at least the industry’s bankers) deserved the full wrath of the Roosevelt administration which culminated in the Public Utility Holding Companies Act 1935.

It appears, however, that Cobb (and presumably Thorne and Loomis) were remarkably honest and transparent in their approach to consolidation, taking the view that consolidation would provide improved better service and lower prices. Perhaps their honesty has been overlooked in history’s rush to harshly judge the empire builders of the 1920’s.

Cobb’s later years

At the age of 64, Cobb’s health appears to have progressively worsened until June 1934 when he retired as chairman and withdrew from all involvement in C&S. For all Cobb’s ill health in his mid-sixties, he lived many more years, passing away at the age of 87 at his summer house in Altamont, New York on 30th September 1957.

Regulatory decisions

NZ – update on regulating the national grid

Introduction

Pipes & Wires #90 examined the Commerce Commission’s recommendation to the Minister Of Energy that Transpower should be subject to Individual Price-Quality regulation (as described in s53ZC of the Act) because that instrument is more likely to promote the s52A Purpose Statement than Default Price-Quality regulation or Customised Price-Quality regulation. This article briefly examines the on-going progress of developing the IPQ instrument.

Background

Transpower is currently operating under an administrative settlement with the Commerce Commission (refer Pipes & Wires #72) which expires on the 30th June 2011. This administrative settlement was reached in May 2008 in respect of thresholds established under Part 4A of the Commerce Act 1986, and although Part 4A has been repealed, the settlement remains in force. The passage of the Commerce Amendment Act 2008 (which amended the Commerce Act 1986) introduced a range of new regulatory instruments and also established several statutory procedures that the Commission must follow.

Recommendation to the Minister Of Energy

Back in April 2010, the Commission published its’ Recommendation to the Minister, which was that Transpower should be subject to Individual Price-Quality regulation. The Commission’s reasons were broadly....

- A Default Price Path (DPP) has statutory constraints on its’ analytical features, making it difficult to accommodate what is expected to be a very lumpy and (at this stage) uncertain CapEx profile.

- A Customised Price Path (CPP) includes statutory timeframes that would be difficult to meet due to Transpower’s lumpy and uncertain CapEx profile.

- An Individual Price Path (IPP) has less statutory constraints around timeframe for analysis, can be rolled over at the end of the IPP (unlike a CPP), can include targeted incentive mechanisms, and can include a wash-up to address under- or over-recovery (which a DPP cannot do).

Next steps

Following the Minister’s approval of IPP as the preferred regulatory instrument, the Commission has steadily worked on developing and consulting on the detail of the IPP. Pipes & Wires will examine the detail of the IPP when it emerges (probably sometime around March or April 2011).

US – state regulator recommends rejecting PATH

Introduction

Pipes & Wires #80 introduced the Potomac Appalachian Transmission Highline (PATH), although in an entirely different context. This article revisits the PATH in the context of the West Virginia Public Service Commission’s (PSC) view that the PATH’s application should be rejected.

What exactly is PATH ?

The PATH is a 275 mile long 765kV line from the John E. Amos power station near Charleston, West Virginia to Kemptown Substation near Newmarket, Maryland being promoted by American Electric Power and Allegheny Energy (just for clarification, the West Virginia PSC documents refer to 224 miles, which is the PATH length through West Virginia, not the total length of 275 miles). The PATH is expected to cost about $2.1b.

The need for PATH

The existing West Virginia and Maryland power grids are aging and becoming increasingly capacity constrained. The promoters claim that PATH will be need by 2015 to meet projected demand on the East Coast, a view supported by the DOE, the NERC, and the PJM.

Key events in the PATH approval process

PATH’s approval has included the following key events....

- 15th May 2009 - PATH filed an application with the West Virginia PSC to build a 765kV line.

- 28th October 2009 – the PSC staff recommended that the Commission either dismiss the application or require PATH to request a tolling. The basis for this recommendation was that the Maryland PSC had dismissed the application and that the load and economic data was out of date.

- 4th November 2009 – PATH objects to the dismissal but agrees to a tolling.

- 24th November 2009 – the Commission denies the motion to dismiss but agrees to a tolling.

- 3rd May 2010 – PATH proposed to toll the statutory date from 24th February 2011 to 16th May 2011.

- 3rd June 2010 – the Commission grants PATH’s request to toll the statutory date.

- 8th July 2010 – PATH submitted update information including alternative options.

- 10th August 2010 – PATH filed a 3rd proposal to toll the statutory deadline, citing the need to correct an error in their base-case modeling.

- 10th September 2010 – the Commission granted the 3rd motion to toll and set a new timeframe that required the PSC to make a final decision by 28th July 2011.

- 12th October 2010 – the Virginia Electric & Power Company (VEPCO) sought a ruling that the rebuild of its Mount Storm – Doubs 500kV line be exempt from various parts of the West Virginia Code because of the urgent nature of the work. This rebuild was approved by the PJM.

- 10th December 2010 - the PSC’s staff recommended to the Commissioners that the PATH application either be dismissed or that PATH be required to request a tolling sufficient to allow the PSC to undertake further analysis.

- 6th January 2011 – AEP and Allegheny request the Virginia State Corporation Commission to delay its planned decision so that updated demand projections can be included in the proposal.

- 7th January 2011 – the West Virginia PSC postponed its’ postponed its deadline for ruling until 9th February 2012 in response to the above request.

Basis of the PSC’s recommendation to reject

As part of PATH’s initial application, rebuilding the Mount Storm – Doubs line was recognised as an alternative option. However VEPCO’s filing of 12th October 2010 makes that rebuild a certainty and, in the view of the PSC staff, erodes the urgency for PATH. The PSC staff go on to note that the proposed Mid-Atlantic Power Pathway (MAPP) in conjunction with the Mount Storm – Doubs rebuild would eliminate the reactive power excursions used to justify PATH until 2019, and that a significant re-analysis will be necessary.

Pipes & Wires will re-visit the PATH’s tortured path as further filings and decisions occur.

Energy policy

US – more on smart meters in California

Introduction

Pipes & Wires has closely examined smart metering in Maryland and California (refer Pipes & Wires #92, #93, and #94) and identified what appears to be some significant disconnects within the whole roll-out process. This article briefly examines the supposed health effects of smart meters, but then progresses to a more philosophical analysis of the wider issues.

Background

Just like wind farms, smart meters held the promise of being the next “game changer”. While the advanced features of smart meters will undoubtedly contribute to reduced energy consumption, demand management and better capital asset utilisation, some serious disconnects between communities, policy makers and regulators have arisen. Just 2 examples of such disconnects are...

- In Maryland, where the Public Service Commission suddenly rejected Baltimore Gas & Electric’s smart metering program on the basis that the much proclaimed benefits of smart meters are now “largely indirect, highly contingent and a long way off”.

- In California, where a political storm erupted over Pacific Gas & Electric’s smart meter roll out which was sold to the community on the presumption that electric bills would drop, but in fact increased due to the coincidence with the hot summer.

I’m sure we’ve all got further examples of our own that contribute to the view that significant 3-way disconnects between policy makers, regulators and communities are emerging.

The specific issue in California (this time)

Most smart meters use a cut-down mobile phone to transmit consumption data to the electric company’s offices every half-hour (at least that’s what the smart meter that was recently installed at my house does). It appears that it is this “chirp” of mobile phone signal that has raised the concerns of the advocacy group EMF Safety Network, which proposed a moratorium on Pacific Gas & Electric’s smart meter roll-out. By a vote of 4 to 1, the California Public Utilities Commission rejected EMF’s proposed moratorium.

Global – where are the trends leading us ?

Introduction

A few recent Pipes & Wires articles on smart metering, feed-in tariffs and renewable generation are suggesting trends that seem a bit confused and disconnected up close. This philosophical rave from the Editor’s desk will hopefully provide a framework within which these issues make a bit more sense.

The wider issues

Moving away from the specific issues, there are a couple of wider trends that need to be considered....

- Policy formation in many jurisdictions has become isolated and remote from localised, real-world concerns. In many cases this is being driven by single-issue thinking that has many of the hallmarks of an ideological crusade.

- Communities are increasingly being told what is good for them and that they must “do their bit to save the planet”. Not surprisingly, many of these communities are pushing back very hard and in what seems an increasing number of cases are successfully opposing renewable initiatives with the added irony that the very legislation designed to promote environmental protection also provides seemingly unending avenues for objecting and appealing.

- Regulators ... well ... my thinking is still a bit fuzzy there. However it seems to be caught in a widening gulf between renewables and smart metering being worthwhile on the one hand, but why should customers have to fund them on the other hand ?

So where might all this lead ?

I’ll be very specific here - small scale renewable generation supported by electronic and communication technologies will happen. It has been happening around the fringes of the energy sector for many years, and it will eventually become mainstream.

For those who’ve read Alvin Toffler’s books (Third Wave, Future Shock and Power Shift), I’m going to slip into a mode of thinking dominated by what Toffler refers to “second wave” (industrial-based economy) and “third wave” (knowledge-based economy). Industrial-based economies have been on the decline in most Western nations for about 55-odd years, and with that decline has gone a transition from centralised, consolidated manufacturing that required concentrated energy (first coal, then electricity) and synchronised communities of people acting in unison (to work in the factories that used that concentrated energy). This “demassification” and “desynchronisation” as Toffler refers to them as lends itself to small scale, localised energy production that is knowledge (technology) intensive. So perhaps a couple of concluding remarks to ponder...

- The shift from manufacturing to knowledge in the West lends itself to small scale, localised generation supported by high technology that doesn’t necessarily need reliable bulk electricity supplies (and in saying that I recognise that web hosts require even more reliability, but that can be achieved by a diverse portfolio of energy supply).

- Small scale generation technologies are becoming cheaper all the time. This lends itself to such technologies becoming financially viable in their own right, rather than relying on subsidies or “punishing second-wave energy sources” with various levies or taxes. As second-wave energy sources become more expensive in their own right, the need to load them down with levies and taxes also declines.

- The “demassification” and “desynchronisation” of work (and consequently travel) patterns may well “smear” the well established daily demand peaks that have characterised electricity supply for the last 120 years as people work at different times, travel at different times and indeed, don’t travel at all.

- The specifics of battery technology and electric motor controls is likely to further advance electric cars (to the point where they will be able to stand on their own merits, rather than rely on subsidies and punishment of petrol cars). As people become “demassified” and “desynchronised” their travel needs may decline to the point where a conventional petrol car is no longer necessary. Probably the major outstanding issue here is the need for some policy makers and regulators to reach a sensible understanding that electric cars are only green if they are recharged using renewable electricity.

- Have large wind farms had their day already ? The way of the future seems to be small, localised renewable generation, so are large wind farms simply third wave “technologies” dressed in second wave “clothing” ie. 1 foot still firmly in the “massifed”, “synchronised” second-wave world ? The fact that wind turbines, and indeed wind farms, seem to be getting bigger and requiring more and more transmission lines suggests a failure to fully understand these second and third waves.

- Regulatory thinking will probably require a significant overhaul. In many cases, regulators are saying at least some third-wave things, but when it comes to approving third-wave initiatives (such as Baltimore Gas & Electric’s proposed smart meter roll-out) they seem to regress to using second-wave tools to assess third-wave ideas. Not surprisingly, the answer is often wrong.

Mergers & acquisitions

Global – the emerging trends

Recent events

The last couple of Pipes & Wires have featured several M&A articles on US utilities that suggest an exit of European utilities which in turn provides the opportunity for US utilities to consolidate (and yes, it has been noted that Electricité de France is bucking the trend by acquiring Constellation Energy). Recent events that seem to fit this trend include....

- E.On sells Kentucky Utilities and LG&E (which PPL acquires).

- Northeast makes a bid for NStar.

- FirstEnergy acquires Allegheny Energy.

- Electricite de France acquires Constellation Energy (and in parallel sells its UK wires business EDF Energy).

- RWE divests its stakes in American Water.

- Iberdrola migrates its’ capital from gas distribution to electricity transmission in the US.

- National Grid sells its electricity and gas businesses in New Hampshire.

The trends

Over the years Pipes & Wires has identified the following “waves” of global investment....

- A reasonably distinct pattern of European (and subsequently US) investment in Argentina following their privatisation program.

- A reasonably distinct pattern of US investment in the UK and the Australian state of Victoria.

- An overlay of several patterns of US utilities exiting the UK and Victoria, closely followed by European utilities entering the UK and Asian utilities investing in Victoria.

- A reasonably distinct extension of the previous European investment in the UK to include the US.

- A reasonably distinct pattern of (western) European investment into eastern Europe as partial-privatisations occur in the former Communist block nations.

- A reasonably distinct interest of Middle East sovereign wealth funds.

- A reasonably distinct extension of the previous Asian investment in Victoria to include the UK as the gas networks were sold off and the European utilities start to exit.

The latest waves to add to the above list include....

- An emerging pattern of European exit from the US, with the seemingly anomaly of EDF investing in the US.

- Neighboring US utilities consolidating.

US – Iberdrola sells gas businesses to fund electricity

Introduction

It’s been a while since we looked at Iberdrola ... 2 years ago they completed their acquisition of Energy East, and then were the subject of a bid from Electricité de France. This article examines Iberdrola’s recent sale of 3 gas distribution businesses to finance major electricity transmission upgrades in and around the New England states.

The deals

The 3 gas distributors sold by Iberdrola back in May 2010 are....

- Connecticut Natural Gas Corporation.

- Southern Connecticut Gas Company.

- Berkshire Gas Company.

These 3 companies collectively supply 369,000 customers in Connecticut and Massachusetts, and were sold to UIL Holdings for $1.25b.

Spending the proceeds of the deal

Iberdrola plans to use the sale proceeds to fund $1.4b of transmission investments including...

- New 115kV lines and substation near Ithaca, New York.

- A new 115kV line and 2 substations near Corning.

- A new 345kV line, 5 new 345kV substations and several new 115kV lines and substations throughout central Maine (the Maine Power Reliability Program).

- A smart grid project (partly funded by the Department Of Energy).

The strategy

Iberdrola has fairly obviously migrated its capital from gas distribution to electricity transmission, but the deeper question is why ? Does it represent a simple narrowing of scope to focus on electricity, is it in response to a tightening gas regulatory regime, is it a rush to capture renewable subsidies, or what ? A bit of a read around a few news articles suggests some of the following elements....

- A need to renew rapidly aging lines and substations.

- A probable attempt to capture subsidies for smart metering and smart grid initiatives that can be used to drive new revenue streams and optimise future growth and renewal CapEx.

- A need to build a solid ring-main to both support Iberdrola’s wind power ambitions and to support transfer of hydro power from Canada.

- A need to achieve a better ROI, which can be done by migrating capital from state-regulated gas distribution businesses to FERC-regulated electricity transmission businesses that are allowed a higher return.

Aus – selling the NSW retail businesses

Introduction

Pipes & Wires first examined the possible sale of the state-owned electricity retailing businesses in the Australian state of New South Wales in June 2005 (Pipes & Wires #41). The issue then expanded to consider the privatisation of the generators (to fund the Sydney urban rail, if I remember rightly) however political opposition gazzumped it. This article examines the sale of the state’s electricity retail businesses and power-purchase contracts by TRUenergy and Origin Energy respectively.

Details of the TRUenergy deal

Assets included in the TRUenergy deal are....

- EnergyAustralia’s retail business (1,500,000 customers buying 21,000 GWh of electricity and also 9,000 GJ of gas per year).

- Electricity supply contracts associated with DELTA Electricity’s 2 Western stations (the 1,400 MW Mount Piper and 1,000 MW Wallerawang coal-fired stations).

- Two power station development sites at Marulan and 1 development site at Mount Piper.

The agreed price was $2.035b (subject to final adjustments), and the deal is expected to be completed by 1st March 2011.

Details of the Origin Energy deal

Assets included in the Origin deal are....

- Integral Energy and Country Energy’s retail businesses (1,600,000 electricity customers).

- Electricity supply contracts associated with Eraring Energy’s 2,640 MW Eraring coal-fired station.

The agreed price was $3.25b, with the deal expected to be completed by 1st March 2011.

AGL’s response

Australian Gas Light (AGL) missed out by declining to pay what it considers high prices, and has already vowed to capture between 400,000 and 500,000 TRUenergy and Origin customers over the next 3 years. The prices paid by Origin and TRUenergy are in the order of $1,300 per customer, whilst AGL notes that its’ costs of capturing other retailer’s customers is about $150.

Assets remaining to be sold

The state is still seeking bidders for 2 separate supply contracts, for the DELTA Electricity coastal stations (Vales Point and Munmorah) and the Macquarie Generation stations respectively.

Re-shaping the industry

These 2 sales have significantly re-shaped and consolidated the NEM. TRUenergy will increase its’ customer base from 1,260,000 to 2,760,000 customers, whilst Origin will increase its’ customer base from 3,000,000 to 4,600,000 customers.

The capital markets’ responses

The capital markets seem to have been somewhat mild in their approval, with Origin rising 1.78% to close at $17.10 whilst AGL sagged 1% to close at $14.91.

US – National Grid sells New Hampshire businesses

Introduction

Following a trend of M&A activity in the US, this article examines the UK’s National Grid’s sale of its’ US electricity and gas businesses in New Hampshire.

The sale process

National Grid plans to sell Granite State Electric and EnergyNorth businesses to Liberty Energy Utilities Co, which is a subsidiary of Algonquin Power & Utilities Corp in Ontario, Canada (maybe there’s another wave emerging !!) for $285m. The 2 businesses collectively supply 43,000 electric customers and 83,000 gas customers. The deal is subject to regulatory approval and is expected to be concluded around September 2011.

To put things in perspective, National Grid supplies 3,300,000 electric customers and 3,400,000 gas customers in Massachusetts, New Hampshire, New York and Rhode Island, so the deal represents only 1.8% of National Grid’s customer numbers.

The strategy behind the sale

Unlike many deals where the underlying strategy has to be inferred, National Grid’s strategy is very plain ... the need to boost earnings above the unacceptable 9.54% set by the New Hampshire Public Utilities Commission to somewhere in the region of 12.25%.

US – progress on FirstEnergy’s bid for Allegheny

Background

Pipes & Wires has been following FirstEnergy’s bid for Allegheny Energy, and noted in Pipes & Wires #95 that Allegheny’s shareholders had approved the acquisition. This brief article notes progress on obtaining the required regulatory approvals.

Recent progress

By late January 2011, approvals had been obtained from the FERC, the Department of Justice and from the Virginia, West Virginia, Maryland and Pennsylvania state regulators. Pipes & Wires will make further comment as the deal proceeds to completion.

Famous power struggles

The electrical history of many cities and countries includes bitter struggles either between public and private interests seeking exclusive rights to distribute and sell electricity, or between competing private interests. This historical interest series examines some of those struggles.

Wendell Willkie battles the TVA (part 1 of 2)

Introduction

Long-time readers may remember an article about Wendell Willkie in Pipes & Wires #55 (and those who have attended my electricity training courses will also have endured a video clip of Willkie espousing his views on free markets). This 1st part of a 2 part article looks not so much at Willkie’s life and work, but about his specific opposition to the Tennessee Valley Authority (part 2 will examine his opposition to the Public Utility Holding Company Act 1935).

The predominance of private power

By the early 1930’s private (investor-owned) utilities dominated the US landscape, but only in the dense metro areas as these utilities quite correctly identified that there was little profit to be made in rural areas. By this time Willkie was a senior lawyer and then subsequently president of Commonwealth & Southern Corporation which controlled 165 individual utilities stretching from Maine to Florida. Willkie also assumed the role of mouth-piece for the private power industry.

The beginnings of the TVA

The Tennessee Valley had a long history of flooding, and by way of a lengthy and often controversial process, Senator George W. Norris of Nebraska (a relentless critic of private power who routinely voted against his fellow Republicans) advocated the establishment of a federal corporation to provide inter alia flood control and electricity generation.  President Roosevelt signed the Tennessee Valley Authority Act on 18th May 1933, and work soon began on flood control and power station works.

The battle lines get drawn

The root of the private power industry’s concern appears to be two-fold....

- That the TVA would effectively use taxes paid by the private utilities to compete against those very same private utilities (which included several of C & S’s operating companies).

- That the TVA’s unlimited borrowing capacity at the low interest rates reflecting the strength of the US Government would lead to unfair competition against utilities that had to borrow at commercial rates.

Willkie’s opposition to private power began around 1930 while he was still a rising star at C & S, however this opposition increased to a fever pitch as Norris’ sponsored the TVA bill. Willkie testified before the House Committee on Military Affairs that the terms of the power purchase contracts that the TVA could impose on private utilities effectively made them un-bankable, and that if the TVA was going to take over private utilities that fair compensation should be paid.

The TVA wins the day

Despite Willkie’s strong advocacy, history records that Roosevelt was the man of the hour, and a largely Democratic Congress supported the TVA Bill which was signed into law. As noted in Pipes & Wires #55, C&S couldn’t compete with the TVA and Willkie oversaw the sale of part of C&S to the TVA for $78.6m.

Historical interest

UK – the secret life of the national grid

BBC 4 recently screened three 1-hour documentaries about the history of the UK’s national grid (which is a timely follow on from the article entitled “Battle Of The Currents” in Pipes & Wires #95). The link to BBC 4 may not work for readers outside of the UK, so fortunately its’ been broken into smaller segments and uploaded to You Tube in 15 minute segments as follows (if anyone can find the links to the segments not underlined that would be really cool)....

- Episode 1 segment 1 of 4.

- Episode 1 segment 2 of 4.

- Episode 1 segment 3 of 4.

- Episode 1 segment 4 of 4.

- Episode 2 segment 1 of 4.

- Episode 2 segment 2 of 4.

- Episode 2 segment 3 of 4.

- Episode 2 segment 4 of 4.

- Episode 3 segment 1 of 4.

- Episode 3 segment 2 of 4.

- Episode 3 segment 3 of 4.

- Episode 3 segment 4 of 4.

A bit of light reading…

Book review – “Switching On The King Country”

Helen Reilly’s latest book examines electricity in the King Country area of New Zealand’s north island from the beginnings of electric light in 1911 through to the present era (2008). In 220 pages jammed packed with stories, anecdotes, interviews, photo’s, maps and drawings the book chronicles the development of the Waitomo, Wairere and King Country Electric Power Boards and the Taumarunui, Ohakune and Raetihi Borough electricity departments and the eventual formation of The Lines Company and King Country Energy. The chapter headings include....

- From candlelight to electric light 1911 – 1924.

- Power in the borough is in short supply 1924 – 1939.

- Rural communities are eventually electrified 1939 – 1958.

- Consolidation and expansion 1959 – 1969.

- Upgrades, amalgamations and reforms 1970 – 1989.

- A decade of government reforms and company development 1989 – 1999.

- Coming to grips with separation 1999 – 2007.

- New challenges for rural electricity companies 2008 -

For those (like me) that enjoy history this book is a must have. Order yours for the exceptionally low price of $39.95 (includes NZ postage and packaging) from the King Country Electric Power Trust by picking here.

Wanted – old electricity history books

If anyone has an old copy of the following books (or any similar books) they no longer want I’d be happy to give them a good home…

- White Diamonds North.

- Northwards March The Pylons.

- Marlborough Will Shine Through.

- Two Per Mile.

- Live Lines (the old ESAA journal)

Conferences & training courses

The following training courses will be run by Conferenz...

- Offshore safety & risk management for the oil industry – New Plymouth, 21st – 22nd February 2011.

- Marine drilling for the oil & gas industry – New Plymouth, 23rd – 25th February 2011.

- Fundamentals of the NZ electricity industry – Auckland, 4th – 5th April 2011.

- Fundamentals of the NZ electricity industry – Wellington, 4th – 5th May 2011.

House-keeping stuff

Opt out from Pipes & Wires

Pick this link to opt out from Pipes & Wires. Please ensure that you send from the email address we send Pipes & Wires to.

Disclaimer

These articles are of a general nature and are not intended as specific legal, consulting or investment advice, and are correct at the time of writing. In particular Pipes & Wires may make forward looking or speculative statements, projections or estimates of such matters as industry structural changes, merger outcomes or regulatory determinations.

Utility Consultants Ltd accepts no liability for action or inaction based on the contents of Pipes & Wires including any loss, damage or exposure to offensive material from linking to any websites contained herein.